# Air balancing report template

Record ventilation terminal design flows, measured readings, test conditions and outstanding work against project criteria.

Complete the applicable sections. An asterisk marks a required field when that section applies. Copy repeat sections as needed and attach photographs separately.

# System and test references

Project or site *

_________________________________________________________________

Record reference *

_________________________________________________________________

Record date *

_________________________________________________________________

Prepared by *

_________________________________________________________________

System or AHU reference *

_________________________________________________________________

Design drawing and revision *

_________________________________________________________________

Test procedure reference *

_________________________________________________________________

Instrument model and serial *

_________________________________________________________________

Calibration record and due date *

_________________________________________________________________

# Test conditions

Operating mode, fan setting and conditions *

_________________________________________________________________
_________________________________________________________________

Access limitations or none *

_________________________________________________________________
_________________________________________________________________

Airflow unit for this record *

[ ] L/s    [ ] m3/h    [ ] CFM

Use the same airflow unit for every design and measured value in this record. Record the applicable project acceptance criteria; this form does not prescribe tolerances.

# Terminal readings

## Terminal readings

Repeat for each entry.

Terminal ID *

_________________________________________________________________

Room or location *

_________________________________________________________________

Air path *

[ ] Supply    [ ] Extract    [ ] Return

Design airflow *

_________________________________________________________________

Measured airflow *

_________________________________________________________________

Acceptance criterion and reference *

_________________________________________________________________

Recorded result *

[ ] Meets stated criterion    [ ] Does not meet stated criterion    [ ] Not assessed

Adjustment or reason not assessed *
If applicable: Recorded result is not Meets stated criterion.

_________________________________________________________________
_________________________________________________________________

Retest airflow

_________________________________________________________________

Retest record reference

_________________________________________________________________

Terminal identification or instrument photos

Photo or attachment references: _________________________

# Review and outstanding work

Overall recorded status *

[ ] Complete against stated criteria    [ ] Outstanding work    [ ] Not assessed

Outstanding work or assessment limitations *
If applicable: Overall recorded status is not Complete against stated criteria.

_________________________________________________________________
_________________________________________________________________

Next action or reason none is needed *

_________________________________________________________________
_________________________________________________________________

Responsible person *

_________________________________________________________________

This is a readings record. It does not calculate airflow, certify system performance or replace the competent person’s commissioning assessment.

Reviewed by

_________________________________________________________________

Reviewer acknowledgement

Signature: ________________________________________