Air Handling Unit Maintenance

An AHU maintenance record covering filters, fans, belts, coils, dampers, condensate, controls, operating readings and the condition at handback.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This records AHU servicing. It does not certify indoor air quality, fire damper performance, ventilation design or legionella control.

HSE advises competent maintenance using manufacturer information and appropriate inspections. Plan safe access and isolation around moving parts and other hazards.

2. Equipment and work

Air handling unit asset ID and location *

______________________________________________________________________________

Manufacturer, model and serial number *

______________________________________________________________________________

Maintenance procedure and revision *

______________________________________________________________________________

Technician and competence reference *

______________________________________________________________________________

Planned work and exclusions *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Safe isolation or permit reference *

______________________________________________________________________________

3. Configuration

Areas served and AHU configuration *

______________________________________________________________________________

Filter grades and replacement specification

Record the installed filter specification and its source, rather than only saying that a filter was changed.

______________________________________________________________________________

Control strategy and design airflow reference

______________________________________________________________________________

Operating hours and reported issues

______________________________________________________________________________

4. AHU checks

Filters, seals and differential pressure checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Fan, drive and guards checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Coils and condensate tray or drain checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Dampers and actuators checked within service scope *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Access doors, seals and internal cleanliness checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Measured value  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual value and unit *

______________________________________________________________________________

Acceptance range and source *

______________________________________________________________________________

Instrument ID and calibration reference

______________________________________________________________________________

Assessment *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Response to exception *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Work and handback

Work performed and parts used

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Post-work tests and evidence

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Equipment handback *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Condition and work evidence photos  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.