Boiler Installation and Commissioning Record

A gas boiler installation and commissioning record: boiler and flue, gas pressure and rate, tightness, combustion at maximum and minimum rate, system cleaning and inhibitor, controls, CO alarm, Gas Safe notification and Benchmark.

1. Boiler

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date commissioned *

______________________________________________________________________________

Time

______________________________________________________________________________

Engineer name *

______________________________________________________________________________

Gas Safe registration number (business) *

______________________________________________________________________________

Engineer licence number

______________________________________________________________________________

Boiler make and model *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, gc number.

______________________________________________________________________________

______________________________________________________________________________

Type  (choose one)

☐ Combi     ☐ System     ☐ Regular (heat only)

Location

______________________________________________________________________________

2. Gas, flue and combustion

Flue type  (choose one)

☐ Horizontal balanced     ☐ Vertical balanced     ☐ Plume management kit     ☐ Other

Flue terminal position meets the manufacturer's clearances?

☐ Yes     ☐ No

Gas tightness test *  (choose one)

☐ Pass     ☐ Fail

Working inlet pressure (mbar)

______________________________________________________________________________

Gas rate measured (m³/h or kW)

______________________________________________________________________________

CO at maximum rate (ppm)

______________________________________________________________________________

CO/CO2 ratio at maximum rate

______________________________________________________________________________

CO at minimum rate (ppm)

______________________________________________________________________________

CO/CO2 ratio at minimum rate

______________________________________________________________________________

Combustion readings are compared with the limits in the manufacturer's instructions, and recorded on the Benchmark commissioning checklist.

Condensate pipe run and terminated correctly?

☐ Yes     ☐ No

3. System and controls

System cleaned and flushed?

☐ Yes     ☐ No

Inhibitor added?

☐ Yes     ☐ No

System filter fitted?

☐ Yes     ☐ No

Controls fitted  (tick all that apply)

☐ Programmer or timer

☐ Room thermostat

☐ Thermostatic radiator valves

☐ Weather compensation

☐ Smart thermostat

☐ Other: ____________

Hot water outlet temperature (°C)

______________________________________________________________________________

Carbon monoxide alarm fitted in the room with the boiler?

☐ Yes     ☐ No

If applicable: Approved Document J (England), paragraph 3.43: where a new or replacement fixed gas appliance, other than one used only for cooking, is installed in a home, a carbon monoxide alarm should be provided in the room where it is located.

4. Notification and handover

Gas Safe building regulations notification reference

______________________________________________________________________________

Benchmark: every installation must be notified to building control, directly or through a competent person scheme such as Gas Safe Register, and a Building Regulations compliance certificate is then issued to the homeowner. GOV.UK says a scheme installer gives the certificate within 8 weeks of completion.

Benchmark commissioning checklist completed?

☐ Yes     ☐ No

Customer shown how to use the boiler and controls, and asked to sign the Benchmark checklist?

☐ Yes     ☐ No

Warranty registered with the manufacturer?

☐ Yes     ☐ No

If applicable: Warranty terms are set by each manufacturer and can include a deadline for registration. Check the manufacturer's terms.

Photos of the boiler, flue and controls  (photos: attach, or note the file names)

______________________________________________________________________________

Customer name

______________________________________________________________________________

Customer signature

Installer name *

______________________________________________________________________________

Installer signature