Boiler Installation and Commissioning Record
A gas boiler installation and commissioning record: boiler and flue, gas pressure and rate, tightness, combustion at maximum and minimum rate, system cleaning and inhibitor, controls, CO alarm, Gas Safe notification and Benchmark.
1. Boiler
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Date commissioned *
______________________________________________________________________________
Time
______________________________________________________________________________
Engineer name *
______________________________________________________________________________
Gas Safe registration number (business) *
______________________________________________________________________________
Engineer licence number
______________________________________________________________________________
Boiler make and model *
______________________________________________________________________________
Scan the data plate
Scanned in the SiteSurvey app. On paper, write the numbers: serial number, gc number.
______________________________________________________________________________
______________________________________________________________________________
Type  (choose one)
☐ Combi     ☐ System     ☐ Regular (heat only)
Location
______________________________________________________________________________
2. Gas, flue and combustion
Flue type  (choose one)
☐ Horizontal balanced     ☐ Vertical balanced     ☐ Plume management kit     ☐ Other
Flue terminal position meets the manufacturer's clearances?
☐ Yes     ☐ No
Gas tightness test *  (choose one)
☐ Pass     ☐ Fail
Working inlet pressure (mbar)
______________________________________________________________________________
Gas rate measured (m³/h or kW)
______________________________________________________________________________
CO at maximum rate (ppm)
______________________________________________________________________________
CO/CO2 ratio at maximum rate
______________________________________________________________________________
CO at minimum rate (ppm)
______________________________________________________________________________
CO/CO2 ratio at minimum rate
______________________________________________________________________________
	Combustion readings are compared with the limits in the manufacturer's instructions, and recorded on the Benchmark commissioning checklist.



Condensate pipe run and terminated correctly?
☐ Yes     ☐ No
3. System and controls
System cleaned and flushed?
☐ Yes     ☐ No
Inhibitor added?
☐ Yes     ☐ No
System filter fitted?
☐ Yes     ☐ No
Controls fitted  (tick all that apply)
☐ Programmer or timer
☐ Room thermostat
☐ Thermostatic radiator valves
☐ Weather compensation
☐ Smart thermostat
☐ Other: ____________
Hot water outlet temperature (°C)
______________________________________________________________________________
Carbon monoxide alarm fitted in the room with the boiler?
☐ Yes     ☐ No
	If applicable: Approved Document J (England), paragraph 3.43: where a new or replacement fixed gas appliance, other than one used only for cooking, is installed in a home, a carbon monoxide alarm should be provided in the room where it is located.



4. Notification and handover
Gas Safe building regulations notification reference
______________________________________________________________________________
	Benchmark: every installation must be notified to building control, directly or through a competent person scheme such as Gas Safe Register, and a Building Regulations compliance certificate is then issued to the homeowner. GOV.UK says a scheme installer gives the certificate within 8 weeks of completion.



Benchmark commissioning checklist completed?
☐ Yes     ☐ No
Customer shown how to use the boiler and controls, and asked to sign the Benchmark checklist?
☐ Yes     ☐ No
Warranty registered with the manufacturer?
☐ Yes     ☐ No
	If applicable: Warranty terms are set by each manufacturer and can include a deadline for registration. Check the manufacturer's terms.



Photos of the boiler, flue and controls  (photos: attach, or note the file names)
______________________________________________________________________________
Customer name
______________________________________________________________________________
Customer signature
	



Installer name *
______________________________________________________________________________
Installer signature
	



Boiler Installation and Commissioning Record. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/boiler-commissioning-checklist/




