Calibration and Verification Record

A measurement-equipment record linking instrument identity, calibration certificates, check results, acceptance decisions and out-of-tolerance follow-up.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This records calibration evidence and internal verification. It does not generate traceability, calculate measurement uncertainty or confer UKAS accreditation.

UKAS assesses calibration laboratories for competence within their accredited scope. Check the relevant scope and issued certificate. An internal record linking results is not itself an accredited calibration certificate.

2. Instrument and method

Instrument ID, model and serial number *

______________________________________________________________________________

Scan the instrument label

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number, asset number.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Measurement range and intended use *

______________________________________________________________________________

Calibration or verification method reference *

______________________________________________________________________________

Provider and relevant accreditation scope reference

______________________________________________________________________________

3. Evidence and results

Issued certificate, date and revision *

______________________________________________________________________________

Reference standard and traceability record

______________________________________________________________________________

Environmental conditions and method limitations

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Measurement point  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual result and unit *

______________________________________________________________________________

Acceptance criterion and source *

______________________________________________________________________________

Instrument and calibration reference

______________________________________________________________________________

Comparison *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Exception and response *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Reported uncertainty and certificate reference

______________________________________________________________________________

4. Disposition

Instrument disposition *  (choose one)

☐ Accepted for stated use     ☐ Restricted use     ☐ Quarantined

Out-of-tolerance impact, affected prior measurements and action *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Acceptance basis and decision rule *

Identify how the acceptance decision accounts for the specified requirement and measurement uncertainty. Record the agreed rule rather than assuming one.

______________________________________________________________________________

Next review or calibration due date

______________________________________________________________________________

Status label and responsible owner

______________________________________________________________________________

5. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.