Chimney Sweep and Inspection Record
A chimney sweep and inspection record: appliance, fuel and flue, sweeping method, smoke test, condition checks, CO alarm, debris found, the next sweep date and the customer's signature.
1. Appliance and flue
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Date swept *
______________________________________________________________________________
Time
______________________________________________________________________________
Sweep name and HETAS or guild number *
______________________________________________________________________________
Appliance *  (choose one)
☐ Open fire
☐ Wood burning stove
☐ Multi-fuel stove
☐ Range cooker
☐ Oil appliance
☐ Gas fire
☐ Other
Fuel burnt  (choose one)
☐ Wood     ☐ Smokeless fuel     ☐ House coal     ☐ Oil     ☐ Gas     ☐ Mixed
Flue  (choose one)
☐ Masonry, unlined     ☐ Masonry with liner     ☐ Twin wall system     ☐ Not known
Room
______________________________________________________________________________
	HETAS recommends sweeping at least twice a year when burning wood and at least once a year for smokeless fuel. How often depends on how much the appliance is used.



2. Sweep and checks
Method *  (tick all that apply)
☐ Brush rods     ☐ Power sweep     ☐ Vacuum
Debris removed  (choose one)
☐ Light     ☐ Moderate     ☐ Heavy     ☐ Tar or glazed deposits
	If applicable: Tar or glazed deposits are signs of creosote, which HETAS says acts as a highly flammable fuel in a chimney fire. Advise the customer on fuel and burning habits, such as burning wood with a moisture content of 20% or less, and consider specialist removal.



Smoke draw test *  (choose one)
☐ Pass     ☐ Fail
	If applicable: Smoke draw test failed. Do not use the appliance until the flue has been investigated and put right.



Pot, cowl or bird guard  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Chimney stack and flaunching  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Flue or liner condition  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Register plate or closure plate  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Appliance door seals and rope  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Hearth and clearances to combustibles  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Permanent air supply (ventilation)  (choose one)
☐ OK     ☐ Defect     ☐ Not applicable
What is wrong?  (if applicable)
______________________________________________________________________________
Is there a working carbon monoxide alarm in the room?
☐ Yes     ☐ No
	If applicable: Advise the customer to fit a carbon monoxide alarm. Approved Document J says one should be fitted in the room when a new or replacement fixed solid fuel appliance is installed in a dwelling, and landlords must have one in any room used as living accommodation that has a fixed combustion appliance, other than a gas cooker.



Photos (pot, flue, appliance, debris)  (photos: attach, or note the file names)
______________________________________________________________________________
3. Certificate and sign-off
Outcome *  (choose one)
☐ Safe to use     ☐ Safe to use, work advised     ☐ Do not use until put right
Sweeping certificate issued?
☐ Yes     ☐ No
Recommended next sweep
______________________________________________________________________________
Advice given
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Customer name
______________________________________________________________________________
Customer signature
	



Completed by *
______________________________________________________________________________
Signature
	



Chimney Sweep and Inspection Record. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/chimney-inspection-checklist/




