Cold Water Storage Tank Inspection

A cold water storage tank record covering tank identity, safe access, visible hygiene condition, monitoring references, defects and remedial follow-up.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

For cold-water storage tanks inspected from safe access without entry. This is not a cleaning certificate, sampling result, structural survey or confined-space entry authority.

HSE hot and cold water guidance includes inspection of cold-water storage tanks and remedial work where necessary. Inspection records support the site water-management arrangements; a visual check cannot demonstrate absence of legionella.

2. Tank and access

Tank ID, service and location *

______________________________________________________________________________

Water risk assessment and schematic reference *

______________________________________________________________________________

Safe access method and limits *

______________________________________________________________________________

Nominal capacity and served areas

______________________________________________________________________________

3. Visible checks

Lid, vent and overflow protection checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Visible internal condition and deposits recorded without entry *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Insulation and external condition checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Inlets, outlets and stagnation concerns recorded *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Leaks and nearby contamination sources checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

4. Evidence and remedial work

Temperature record and method reference where taken

______________________________________________________________________________

Separate sampling or cleaning report reference

______________________________________________________________________________

Condition photographs  (photos: attach, or note the file names)

______________________________________________________________________________

Areas not visible and further investigation *

Record the viewing and access limits and any evidence not obtained. A visual check alone cannot establish water quality.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Handover

Use decision *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Repair or follow-up job reference

______________________________________________________________________________

Condition and defect evidence  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.