Compressor Maintenance Visit

A compressed-air maintenance record with compressor and receiver details, isolation, visible checks, operating readings, service work and handback.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

For competent compressed-air technicians following manufacturer procedures. This is not a written scheme of examination, pressure test or permission to defeat a protective device.

HSE distinguishes maintenance from examinations under a written scheme for qualifying pressure systems. Identify the applicable system and examination arrangements; a service visit does not fulfil them by itself.

2. Equipment and scope

Compressor ID, model and location *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number, asset number.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Competent person and authorisation *

______________________________________________________________________________

Manufacturer or approved procedure reference *

______________________________________________________________________________

Work or inspection scope and exclusions *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

3. System and isolation

Receiver and connected system references *

______________________________________________________________________________

Written scheme and examination references where applicable

Reference the applicable examination documentation and distinguish it from this maintenance visit. Record unavailable information as a gap.

______________________________________________________________________________

Isolation and stored-pressure release verification reference *

______________________________________________________________________________

Hours, duty and reported alarms

______________________________________________________________________________

4. Service checks

Visible pipework, supports and leaks checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Lubrication and filters checked to instructions *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Cooling and ventilation paths checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Condensate treatment and drains checked to procedure *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Protective-device checks referenced without unauthorised adjustment *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Measurement  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual result and unit *

______________________________________________________________________________

Acceptance criterion and source *

______________________________________________________________________________

Instrument and calibration reference

______________________________________________________________________________

Comparison *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Exception and response *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Work done, parts and waste handling

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Handover

Use decision *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Repair or follow-up job reference

______________________________________________________________________________

Condition and defect evidence  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.