Decking Inspection

A decking inspection checklist: deck type, material and height, boards, fixings, surface, steps, balustrade and handrail, joists, posts and footings, guarding height and gaps, each defect with risk and photos, and the result.

1. Deck

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Inspection date *

______________________________________________________________________________

Time

______________________________________________________________________________

Inspector *

______________________________________________________________________________

Deck  (choose one)

☐ Ground level deck

☐ Raised deck

☐ Roof terrace or balcony deck

☐ Walkway or boardwalk

Boards  (choose one)

☐ Softwood timber     ☐ Hardwood timber     ☐ Composite     ☐ Other

Use  (choose one)

☐ Private home     ☐ Shared or communal     ☐ Commercial or public

Highest point of the deck above the ground (mm)

______________________________________________________________________________

Age, if known

______________________________________________________________________________

2. Checks

Boards: no splits, rot, soft spots or loose boards  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fixings: no raised, missing or corroded screws or nails  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Surface: not slippery, algae and moss cleared  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Steps and treads firm and even  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Balustrade posts, rails and spindles firm  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Handrail secure  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Joists and bearers sound, where visible  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Posts and footings sound, no rot at ground contact  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fixing to the building sound, where attached  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Water drains away, no ponding under the deck  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Height of the guarding above the deck (mm)

______________________________________________________________________________

Largest gap in the guarding (mm)

______________________________________________________________________________

If applicable: Approved Document K gives guidance for building work in England. In dwellings, guarding should stop people falling from a height of more than 600 mm. Diagram 3.1 gives 1100 mm for external balconies and edges of roofs in single family dwellings, and where children under five may use the building a 100 mm sphere should not pass through any opening. For an existing deck, use these figures as a reference.

Defects  (copy this block for each one)

Defect *

______________________________________________________________________________

Location

______________________________________________________________________________

Risk  (choose one)

☐ Make safe now     ☐ Repair soon     ☐ Monitor

Made safe on site (taped off or closed)?  (if applicable)

☐ Yes     ☐ No

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Defects to make safe now  (worked out automatically in the app)

______________________________________________________________________________

Result *  (choose one)

☐ Safe to use     ☐ Safe to use: repairs needed     ☐ Do not use until repaired

If applicable: Close the deck or the affected part and tell the owner or manager until it is repaired.

Walk Cam: decking inspection

Walk Cam video walk-through: available in the SiteSurvey app only.

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.