Drainage Installation Inspection

A drainage installation record linking drawings, pipe and chamber observations, levels, concealed-work evidence, approved test references and defects.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This is an installation inspection record, not a drainage test certificate, design approval, CCTV condition survey or chamber-entry permit.

Approved Document H provides drainage guidance for England. Use the applicable design, local requirements and approved inspection/test plan. HSE confined-space guidance applies where the work creates entry risks.

2. Installation scope

Run, chamber and location references *

______________________________________________________________________________

Approved design and revision *

______________________________________________________________________________

Foul, surface or other system and boundaries *

______________________________________________________________________________

Inspection stage and concealment hold points *

______________________________________________________________________________

3. Installation checks

Materials and pipe sizes checked against design *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Bedding and support evidence recorded *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Connections and joints checked before concealment *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Levels, falls and flow direction checked against design *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Chambers, access and protection checked within safe access *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Level or dimensional check  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual result and unit *

______________________________________________________________________________

Acceptance criterion and source *

______________________________________________________________________________

Instrument and calibration reference

______________________________________________________________________________

Comparison *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Exception and response *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Concealed-work evidence  (photos: attach, or note the file names)

______________________________________________________________________________

4. Testing and handover

Approved test method and separate result/certificate reference

______________________________________________________________________________

Defects and retest or reinspection evidence *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

As-built record and handover recipient

Identify changes from the approved layout and the corresponding as-built reference. Include concealed sections not witnessed as a limitation.

______________________________________________________________________________

Untested or inaccessible sections *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.