Electrical Installation Condition Report
Site record for a periodic inspection: installation details, extent and limitations, supply and earthing, boards, schedule of circuits and test results, coded observations with photos, and the overall assessment.
1. Details
Who the report is for, where, and why.
Project
Filled in from the project in SiteSurvey.
______________________________________________________________________________
Client
______________________________________________________________________________
Installation address *
______________________________________________________________________________
Occupier
______________________________________________________________________________
Date of inspection *
______________________________________________________________________________
Reason for the report *  (choose one)
☐ Periodic inspection
☐ Rented property: landlord requirement
☐ Change of occupancy
☐ Before sale or purchase
☐ Insurance or mortgage requirement
☐ After damage, such as flood or fire
☐ Change of use
☐ Other: ____________
Type of premises  (choose one)
☐ Domestic
☐ Rented domestic
☐ House in multiple occupation
☐ Commercial
☐ Industrial
☐ Public building
☐ Other: ____________
Estimated age of the installation (years)
______________________________________________________________________________
Evidence of additions or alterations?  (choose one)
☐ Yes     ☐ No     ☐ Not apparent
Estimated age of the alterations (years)  (if applicable)
______________________________________________________________________________
Date of the last inspection
Leave blank if not known.
______________________________________________________________________________
Records available  (choose one)
☐ Previous report seen     ☐ Installation certificate seen     ☐ None available
Previous report or certificate reference  (if applicable)
______________________________________________________________________________
	What this form is. The formal Electrical Installation Condition Report must meet BS 7671, and registered electricians usually issue it from their scheme's or their certification software. Use this form as the site record and the photos behind it: what you inspected, the readings you took and what you found.



	If applicable: Rented homes in England. The Electrical Safety Standards in the Private Rented Sector and Social Rented Sector (England) Regulations 2020 require landlords to have the installation inspected and tested by a qualified person at least every 5 years, or sooner if the last report says so. The landlord must give existing tenants a copy of the report within 28 days of the inspection, and give the local council a copy within 7 days of a written request. Remedial or further investigative work the report requires must be done within 28 days, or sooner if the report says so. Wales, Scotland and Northern Ireland have their own rules.



2. Extent and limitations
What was inspected and tested, and what was not.
Extent of the installation covered *
For example the whole installation, or the ground floor distribution board and its final circuits.
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Agreed limitations, and the reasons
For example no lifting of fixed floor coverings, or no testing of circuits serving servers.
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Limitations agreed with  (if applicable)
______________________________________________________________________________
Operational limitations found on the day
For example rooms with no access, or circuits that could not be isolated.
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Proportion of the installation inspected (%)
Where only a sample of accessories or circuits was inspected.
______________________________________________________________________________
	Record every limitation, agreed or found on the day, and who agreed it. The more is left out, the less the report can say about the installation.



3. Supply and earthing
Supply characteristics and earthing arrangements.
Earthing system *  (choose one)
TN-C-S is often called PME.
☐ TN-C-S     ☐ TN-S     ☐ TT     ☐ IT     ☐ Other: ____________
Supply  (choose one)
☐ Single phase     ☐ Three phase
Nominal voltage (V)
______________________________________________________________________________
External earth fault loop impedance, Ze (ohms)
______________________________________________________________________________
Prospective fault current (kA)
______________________________________________________________________________
Main supply protective device: type
For example BS 88-3 cartridge fuse.
______________________________________________________________________________
Rating (A)
______________________________________________________________________________
Earth electrode type and location  (if applicable)
______________________________________________________________________________
Electrode resistance to earth (ohms)  (if applicable)
______________________________________________________________________________
Main switch or RCD: type and rating
______________________________________________________________________________
Earthing conductor present and connected?
☐ Yes     ☐ No
Earthing conductor: material and size (mm²)  (if applicable)
______________________________________________________________________________
Main protective bonding present?
☐ Yes     ☐ No
Main protective bonding conductors: material and size (mm²)  (if applicable)
______________________________________________________________________________
Bonded to water installation pipes  (if applicable; choose one)
☐ Yes     ☐ No     ☐ Not applicable     ☐ Not verified
Bonded to gas installation pipes  (if applicable; choose one)
☐ Yes     ☐ No     ☐ Not applicable     ☐ Not verified
Bonded to oil installation pipes  (if applicable; choose one)
☐ Yes     ☐ No     ☐ Not applicable     ☐ Not verified
Bonded to structural steel  (if applicable; choose one)
☐ Yes     ☐ No     ☐ Not applicable     ☐ Not verified
Other extraneous parts bonded  (if applicable)
______________________________________________________________________________
	If applicable: No earthing conductor or main bonding recorded. Check again, and if it stands record it as an observation on page 6.



Photos: intake, meter, earthing and bonding  (photos: attach, or note the file names)
______________________________________________________________________________
4. Consumer units and distribution boards
One entry for each board.
Boards  (copy this block for each one)
Board reference *
For example CU1 or DB-G1.
______________________________________________________________________________
Location
______________________________________________________________________________
Make and model
______________________________________________________________________________
Supplied from
______________________________________________________________________________
Number of ways
______________________________________________________________________________
Enclosure  (choose one)
☐ Non-combustible     ☐ Combustible     ☐ Not known
Earth fault loop impedance at the board, Zdb (ohms)
______________________________________________________________________________
Prospective fault current at the board (kA)
______________________________________________________________________________
Surge protection device  (choose one)
☐ Fitted     ☐ Not fitted     ☐ Not known
Circuit chart and labels  (choose one)
☐ Present and correct     ☐ Missing or incorrect
Photos  (photos: attach, or note the file names)
Cover on and cover off, and the circuit chart.
______________________________________________________________________________
5. Schedule of circuits and test results
One entry for each circuit tested.
Circuits  (copy this block for each one)
Board
______________________________________________________________________________
Circuit number *
______________________________________________________________________________
Description *
For example ground floor sockets.
______________________________________________________________________________
Type of wiring  (choose one)
☐ Thermoplastic insulated and sheathed (flat twin and earth)
☐ Thermoplastic singles in conduit
☐ Thermoplastic singles in trunking
☐ Steel wire armoured
☐ Mineral insulated
☐ Thermosetting (XLPE) cable
☐ Other: ____________
Reference method  (choose one)
☐ A
☐ B
☐ C
☐ D
☐ E
☐ F
☐ G
☐ 100
☐ 101
☐ 102
☐ 103
☐ Other: ____________
Live conductor size (mm²)
______________________________________________________________________________
Protective conductor size (mm²)
______________________________________________________________________________
Protective device  (choose one)
☐ MCB Type B
☐ MCB Type C
☐ MCB Type D
☐ RCBO Type B curve
☐ RCBO Type C curve
☐ Cartridge fuse (BS 1361 or BS 88-3)
☐ Rewireable fuse (BS 3036)
☐ HRC fuse (BS 88-2)
☐ MCCB
☐ Other: ____________
Rating (A)
______________________________________________________________________________
Maximum permitted Zs for this device (ohms)
______________________________________________________________________________
RCD protection  (choose one)
☐ None     ☐ Type AC     ☐ Type A     ☐ Type F     ☐ Type B
RCD rated residual current (mA)  (if applicable)
______________________________________________________________________________
Ring final circuit?
☐ Yes     ☐ No
Ring end to end, line r1 (ohms)  (if applicable)
______________________________________________________________________________
Ring end to end, neutral rn (ohms)  (if applicable)
______________________________________________________________________________
Ring end to end, protective r2 (ohms)  (if applicable)
______________________________________________________________________________
Continuity, R1 + R2 (ohms)
______________________________________________________________________________
Or R2 (ohms)
______________________________________________________________________________
Insulation resistance test voltage (V)
______________________________________________________________________________
Insulation resistance, live to live (megohms)
______________________________________________________________________________
Insulation resistance, live to earth (megohms)
______________________________________________________________________________
Polarity  (choose one)
☐ Correct     ☐ Incorrect     ☐ Not tested
Measured Zs (ohms)
______________________________________________________________________________
	If applicable: Measured Zs is higher than the maximum you entered for this device. Check the reading, and record an observation on page 6 if it stands.



	If applicable: Incorrect polarity. Record it as an observation on page 6 with its code.



RCD disconnection time (ms)  (if applicable)
______________________________________________________________________________
RCD test button  (if applicable; choose one)
☐ Operates     ☐ Does not operate     ☐ Not tested
AFDD fitted?
☐ Yes     ☐ No
AFDD test button  (if applicable; choose one)
☐ Operates     ☐ Does not operate     ☐ Not tested
Remarks
______________________________________________________________________________
Circuits recorded  (worked out automatically in the app)
______________________________________________________________________________
Test instruments used: make, model and serial numbers *
______________________________________________________________________________
6. Observations
One entry for each observation, with its classification code.
	Classification codes, as set out in GOV.UK guidance for landlords. C1: danger present, risk of injury, immediate remedial action required; the inspector may make it safe before leaving. C2: potentially dangerous, urgent remedial action required. C3: improvement recommended. FI: further investigation required without delay. Give each observation one code, the most serious that applies, and tell the person who ordered the report about any C1 straight away.



Are there observations to record?
☐ Yes     ☐ No
Observations  (copy this block for each one; if applicable)
Observation *
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Location
Room, board or circuit.
______________________________________________________________________________
Classification code *  (choose one)
☐ C1: Danger present
☐ C2: Potentially dangerous
☐ C3: Improvement recommended
☐ FI: Further investigation
Made safe before leaving?  (if applicable)
☐ Yes     ☐ No
Photos  (photos: attach, or note the file names)
______________________________________________________________________________
Recommended action
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
C1  (if applicable; worked out automatically in the app)
______________________________________________________________________________
C2  (if applicable; worked out automatically in the app)
______________________________________________________________________________
C3  (if applicable; worked out automatically in the app)
______________________________________________________________________________
FI  (if applicable; worked out automatically in the app)
______________________________________________________________________________
7. Overall assessment
The condition of the installation for continued use.
Overall assessment of the installation *  (choose one)
☐ Satisfactory     ☐ Unsatisfactory
	If applicable: You have recorded a C1 or C2 observation. Industry guidance (Electrical Safety First Best Practice Guide 4) says the overall assessment must then be unsatisfactory. Check the codes or the assessment before you issue the report.



	If applicable: You have recorded an FI observation: a potential safety issue that could not be fully determined. It should be investigated as soon as possible. Check the overall assessment against your scheme guidance before you issue the report.



Summary of the condition of the installation *
For example the earthing and bonding, the consumer unit, the wiring and its condition, wear and damage, and any change of use.
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Recommended date of the next inspection *
______________________________________________________________________________
Reason for that interval
______________________________________________________________________________
	If applicable: For rented homes in England the next inspection must be no more than 5 years away, or sooner if this report says so.



8. Inspector
Who carried out the inspection and testing.
Inspector name *
______________________________________________________________________________
Company
______________________________________________________________________________
Competent person scheme and registration number
If registered.
______________________________________________________________________________
Formal report reference
The certificate number from your certification software, once issued.
______________________________________________________________________________
Inspector signature
	



Date
______________________________________________________________________________
Received on site by
______________________________________________________________________________
Signature
	



Electrical Installation Condition Report. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/eicr-template/




