Electrical Test Results Schedule

An electrical test results schedule for a distribution board: every circuit with its device, cables, continuity, insulation resistance, polarity, Zs and RCD times, with warnings on readings that fail.

1. Board and supply

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date of the tests *

______________________________________________________________________________

Time

______________________________________________________________________________

Tested by *

______________________________________________________________________________

Distribution board reference and location *

______________________________________________________________________________

Scan the board label

Scanned in the SiteSurvey app. On paper, write the numbers: asset number.

______________________________________________________________________________

Photos of the board  (photos: attach, or note the file names)

Optional. The board with its cover on and off, the circuit chart and anything you found.

______________________________________________________________________________

Earthing arrangement  (choose one)

☐ TN-C-S (PME)     ☐ TN-S     ☐ TT     ☐ Other

Earth fault loop impedance at the board, Ze or Zdb (Ω)

Ze at the origin, or Zdb at a sub-distribution board.

______________________________________________________________________________

Prospective fault current (kA)

______________________________________________________________________________

Test instrument, serial number and calibration date

______________________________________________________________________________

This is a site record of the readings and checks. It is not the BS 7671 certificate or schedule itself: issue that from your registration scheme's or your certification software.

2. Circuits

Circuits tested  (copy this block for each one)

Circuit number *

______________________________________________________________________________

Circuit description *

______________________________________________________________________________

Points served

______________________________________________________________________________

Live conductor (mm²)

______________________________________________________________________________

Protective conductor (mm²)

______________________________________________________________________________

Protective device  (choose one)

☐ MCB type B

☐ MCB type C

☐ MCB type D

☐ RCBO type B

☐ RCBO type C

☐ BS 88 fuse

☐ BS 1361 fuse

☐ BS 3036 rewireable fuse

☐ Other

Rating (A)

______________________________________________________________________________

RCD type  (choose one)

☐ Type AC     ☐ Type A     ☐ Type F     ☐ Type B     ☐ No RCD

Ring final circuit?

☐ Yes     ☐ No

Ring end to end r1 (Ω)  (if applicable)

______________________________________________________________________________

Ring end to end rn (Ω)  (if applicable)

______________________________________________________________________________

Ring end to end r2 (Ω)  (if applicable)

______________________________________________________________________________

Difference between r1 and rn (Ω)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

(r1 + r2) / 4, the expected R1 + R2 for the ring (Ω)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Continuity R1 + R2 (Ω)

______________________________________________________________________________

Ze + (R1 + R2) (Ω)  (if applicable; worked out automatically in the app)

Ze or Zdb from page 1 plus R1 + R2. Compare it with the measured Zs below.

______________________________________________________________________________

Insulation resistance test voltage  (choose one)

☐ 250 V     ☐ 500 V     ☐ 1000 V

Insulation resistance, live to live (MΩ)

______________________________________________________________________________

Insulation resistance, live to earth (MΩ)

______________________________________________________________________________

If applicable: Below 1 MΩ. The IET gives 1 MΩ as the minimum insulation resistance, with a 500 V d.c. test for circuits up to 500 V. Investigate before the circuit is put into service.

Polarity  (choose one)

☐ Correct     ☐ Fault

Earth fault loop impedance Zs, measured (Ω)

______________________________________________________________________________

Maximum permitted Zs for this device (Ω)

From the BS 7671 tables or the device manufacturer.

______________________________________________________________________________

Measured Zs as a share of the maximum (%)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: Measured Zs is above the maximum permitted for this protective device. The device may not disconnect in time.

RCD operating time at rated residual current (ms)

______________________________________________________________________________

If applicable: Over 300 ms at the rated residual current. IET guidance gives 300 ms as the maximum for a general non-delay RCD (an S type time-delayed RCD may take up to 500 ms). Check or replace the RCD.

RCD or AFDD test button operates  (choose one)

☐ Yes     ☐ No     ☐ Not fitted

Result *  (choose one)

☐ Pass     ☐ Fail

If applicable: Recorded as a pass, but a reading above is outside a limit the form checks. Check the reading and the result.

Observations  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

c_f_pass  (worked out automatically in the app)

______________________________________________________________________________

c_f_fail  (worked out automatically in the app)

______________________________________________________________________________

c_f_ir  (worked out automatically in the app)

______________________________________________________________________________

c_f_zs  (worked out automatically in the app)

______________________________________________________________________________

c_f_rcd  (worked out automatically in the app)

______________________________________________________________________________

Circuit retest readings  (copy this block for each one)

One row per retest of this circuit. Record only the tests performed, with the test conditions and acceptance reference in the notes. The original circuit schedule and its calculations remain above.

Reading date and time *

______________________________________________________________________________

Continuity R1 + R2 (Ω)

______________________________________________________________________________

Insulation test voltage (V)  (choose one)

☐ 250     ☐ 500     ☐ 1000

Insulation resistance: live to earth (MΩ)

______________________________________________________________________________

Earth fault loop impedance Zs (Ω)

______________________________________________________________________________

RCD operating time (ms)

______________________________________________________________________________

Recorded result  (choose one)

☐ Not assessed     ☐ Pass     ☐ Fail     ☐ Not tested

Notes / action taken

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos for this reading  (photos: attach, or note the file names)

______________________________________________________________________________

Circuits tested  (worked out automatically in the app)

______________________________________________________________________________

Circuits passed  (worked out automatically in the app)

______________________________________________________________________________

Circuits failed  (worked out automatically in the app)

______________________________________________________________________________

Insulation under 1 MΩ at 500 V  (worked out automatically in the app)

______________________________________________________________________________

Zs over the maximum  (worked out automatically in the app)

______________________________________________________________________________

RCD slower than 300 ms  (worked out automatically in the app)

______________________________________________________________________________

Highest Zs as a share of its maximum (%)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

If applicable: A circuit failed, but no further action is recorded. Add what needs doing, who will do it and when.

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.