# EV charger maintenance checklist

Record an EV charging unit maintenance visit, visible condition, manufacturer procedure references, functional-check evidence and unresolved faults.

Complete the applicable sections. An asterisk marks a required field when that section applies. Copy repeat sections as needed and attach photographs separately.

# Charger and visit

Project or site *

_________________________________________________________________

Record reference *

_________________________________________________________________

Record date *

_________________________________________________________________

Prepared by *

_________________________________________________________________

Charger ID, make and model *

_________________________________________________________________

Serial number *

_________________________________________________________________

Manufacturer service procedure and revision *

_________________________________________________________________

Work-control or isolation reference *

_________________________________________________________________

# Recorded service checks

Housing and mounting condition reviewed *

[ ] Confirmed    [ ] Exception    [ ] Not applicable

Housing and mounting condition reviewed exception or applicability note *
If applicable: Housing and mounting condition reviewed is Exception or Housing and mounting condition reviewed is Not applicable.

_________________________________________________________________
_________________________________________________________________

Cable and connector condition reviewed *

[ ] Confirmed    [ ] Exception    [ ] Not applicable

Cable and connector condition reviewed exception or applicability note *
If applicable: Cable and connector condition reviewed is Exception or Cable and connector condition reviewed is Not applicable.

_________________________________________________________________
_________________________________________________________________

Display and user interface checked *

[ ] Confirmed    [ ] Exception    [ ] Not applicable

Display and user interface checked exception or applicability note *
If applicable: Display and user interface checked is Exception or Display and user interface checked is Not applicable.

_________________________________________________________________
_________________________________________________________________

Required functional checks recorded *

[ ] Confirmed    [ ] Exception    [ ] Not applicable

Required functional checks recorded exception or applicability note *
If applicable: Required functional checks recorded is Exception or Required functional checks recorded is Not applicable.

_________________________________________________________________
_________________________________________________________________

Specialist test and service evidence references *

_________________________________________________________________

Condition and defect photos

Photo or attachment references: _________________________

Record results of authorised work only. Do not use this checklist as instructions for electrical testing, opening enclosures or isolating equipment.

# Service outcome

Recorded availability *

[ ] Available under site procedure    [ ] Restricted    [ ] Unavailable

Restrictions and escalation or none *

_________________________________________________________________
_________________________________________________________________

Record status *

[ ] Open    [ ] Complete

Next action or reason none is needed *

_________________________________________________________________
_________________________________________________________________

Responsible person *

_________________________________________________________________

Reviewed by

_________________________________________________________________

Reviewer acknowledgement

Signature: ________________________________________