EV Charger Site Survey
An EV charger site survey: customer and grant eligibility, parking and charger position, supply, earthing, consumer unit and existing loads, cable route, Wi-Fi signal for a smart charger and photos.
1. Customer and site
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Survey date *
______________________________________________________________________________
Time
______________________________________________________________________________
Surveyor *
______________________________________________________________________________
The customer *  (choose one)
☐ Owns and lives in a house
☐ Owns and lives in a flat
☐ Rents the property
☐ Business or workplace
	If applicable: OZEV grant. The electric vehicle chargepoint grant for renters and flat owners gives 75% of the cost, up to £500, for people who own and live in a flat, or rent and live in any home, with private off-street parking and an eligible vehicle. Funding is confirmed until 31 March 2027. Permissions from the landlord, freeholder or managing agent must be in place before applying, an OZEV-authorised installer must be used, and the chargepoint must not be installed until OZEV confirms the grant.



	If applicable: Workplace Charging Scheme. Up to £500 per socket towards chargepoints at workplaces, for up to 40 sockets across all sites, with funding confirmed until 31 March 2027.



Has the landlord, freeholder or managing agent given permission?  (if applicable)
☐ Yes     ☐ No
Vehicle make and model
______________________________________________________________________________
2. Parking and charger position
Parking *  (choose one)
☐ Driveway
☐ Garage
☐ Allocated car park space
☐ Workplace car park
☐ On-street only
	If applicable: On-street only. A cross-pavement solution, such as a cable channel, needs the local highways authority's consent, and not every council allows them. A separate OZEV grant of up to £500 covers households with on-street parking that install one.



Proposed charger position *
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Mounting  (choose one)
☐ Brick or block wall     ☐ Render     ☐ Cladding     ☐ Timber     ☐ Post or pedestal
Cable route length from the consumer unit (m) *
______________________________________________________________________________
Cable route passes through  (tick all that apply)
☐ Cavity wall
☐ Loft
☐ Garage
☐ Under a floor
☐ Underground (groundworks)
☐ Clipped outside
☐ Other: ____________
Photos of the charger position and cable route  (photos: attach, or note the file names)
______________________________________________________________________________
3. Electrical supply
Supply *  (choose one)
☐ Single-phase     ☐ Three-phase
Main fuse rating  (choose one)
☐ 60 A     ☐ 63 A     ☐ 80 A     ☐ 100 A     ☐ Not marked
Earthing arrangement *  (choose one)
☐ TN-C-S (PME)     ☐ TN-S     ☐ TT     ☐ Not determined
	If applicable: PME supply. BS 7671 regulation 722.411.4.1 does not allow a PME earth to be used for a chargepoint outdoors, or one that could charge a vehicle outdoors, unless one of the methods it lists is used, such as a chargepoint with built-in open-PEN protection or a separate earth electrode. Record which one you will use.



Method that will be used  (if applicable)
______________________________________________________________________________
Consumer unit make, spare ways and RCD type
______________________________________________________________________________
Other large loads  (tick all that apply)
☐ Electric shower
☐ Electric heating
☐ Heat pump
☐ Hot tub
☐ Second EV charger
☐ Solar PV or battery
☐ None
Is load management or a supply upgrade needed?
☐ Yes     ☐ No
Photos of the meter, main fuse and consumer unit  (photos: attach, or note the file names)
______________________________________________________________________________
4. Charger choice
Wi-Fi or mobile signal at the charger position  (choose one)
☐ Strong     ☐ Weak     ☐ None
	If applicable: Home and workplace chargepoints sold in Great Britain since 30 June 2022 must be smart: able to send and receive information and respond to signals to change when or how fast the car charges. They must keep charging if the network connection drops, but the smart features need one, so plan a connection.



Charger power  (choose one)
☐ 7 kW     ☐ 11 kW     ☐ 22 kW
Cable  (choose one)
☐ Tethered     ☐ Untethered (socket)
Proposed charger make and model
______________________________________________________________________________
Installation notes and anything that affects the price
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
5. Actions and sign-off
Customer name
______________________________________________________________________________
Customer signature
	



Are further actions needed?
☐ Yes     ☐ No
Further actions  (copy this block for each one; if applicable)
What needs doing? *
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Who will do it?
______________________________________________________________________________
Due date
______________________________________________________________________________
Status  (choose one)
☐ Open     ☐ In progress     ☐ Completed
Inspector name *
______________________________________________________________________________
Position or company
______________________________________________________________________________
Inspector signature
	



	Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.
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