Fan Coil Maintenance Visit

A fan coil maintenance record covering unit identity, isolation, filters, coil and condensate observations, controls, service work and handover evidence.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This records authorised fan coil maintenance, not refrigeration circuit certification, electrical installation testing or proof of indoor air quality.

HSE guidance calls for safe maintenance by competent people, using suitable isolation and equipment information. Follow the installed unit instructions and site procedure when deciding service tasks.

2. Equipment and scope

Fan coil unit ID, model and location *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number, asset number.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Competent person and authorisation *

______________________________________________________________________________

Manufacturer or approved procedure reference *

______________________________________________________________________________

Work or inspection scope and exclusions *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

3. Service preparation

Unit type and served zone *

______________________________________________________________________________

Isolation and safe access verification *

______________________________________________________________________________

Reported faults and previous work

Record the reported symptom, affected area and conditions under which it occurs. Separate the report from the technician's findings.

______________________________________________________________________________

4. Service checks

Filter condition and replacement recorded *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Accessible coil and fan condition checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Condensate tray and drain checked under procedure *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Visible pipework, valves and insulation checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Controls and operation checked after safe restoration *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Cleaning, parts and adjustments recorded

______________________________________________________________________________

Measurement  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual result and unit *

______________________________________________________________________________

Acceptance criterion and source *

______________________________________________________________________________

Instrument and calibration reference

______________________________________________________________________________

Comparison *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Exception and response *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Handover

Use decision *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Repair or follow-up job reference

______________________________________________________________________________

Condition and defect evidence  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.