Fire Alarm Test Record

A fire alarm test record: the weekly call point test with the call point used, sounders and reset, and the service visit with each device tested, faults, photos and the date of the last service.

1. Test details

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Tested by, name and role *

______________________________________________________________________________

Responsible person for the premises

______________________________________________________________________________

What is being recorded? *  (choose one)

☐ Weekly test     ☐ Service visit by a competent person     ☐ Fault or false alarm

2. Weekly test  (if applicable)

Home Office guide Fire safety risk assessment: offices and shops. All types of fire warning system should be tested once a week. For electrical systems, activate a manual call point, usually with a test key, using a different call point for each successive test. It is good practice to record all tests, false alarms and any maintenance.

Is the alarm connected to an alarm receiving centre?

☐ Yes     ☐ No

Was the centre told before the test?  (if applicable)

☐ Yes     ☐ No

If applicable: Where a system is connected to a monitoring centre, arrange the test with them first to avoid an unwanted false alarm. Call the centre now and check no call was passed to the fire service.

Call point used today (number and location) *

______________________________________________________________________________

Scan the call point label

Scanned in the SiteSurvey app. On paper, write the numbers: device number.

______________________________________________________________________________

Call point used at the last weekly test

______________________________________________________________________________

If applicable: This is the same call point as last time. Use a different call point for each test so every one is tested in turn.

Did the panel show the call point you operated?

☐ Yes     ☐ No

Did the sounders operate?

☐ Yes     ☐ No

Could the alarm be heard throughout the building?

☐ Yes     ☐ No

Did linked systems operate, such as door holders releasing?  (choose one)

☐ Yes     ☐ No     ☐ None linked

Was the panel back to normal after it was reset?

☐ Yes     ☐ No

If applicable: Alarm fault. Record it in the log book, tell the responsible person now and arrange for a competent person to attend.

What was wrong, and where?  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Has the responsible person been told about the fault?  (if applicable)

☐ Yes     ☐ No

2. Service visit  (if applicable)

Engineer and company

______________________________________________________________________________

Third-party certification, if any (for example BAFE SP203-1)

______________________________________________________________________________

Date of the last service

______________________________________________________________________________

Days since the last service  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: More than six months since the last service. The Home Office guide says six-monthly servicing and preventive maintenance should be carried out by a competent person.

False alarms since the last service

______________________________________________________________________________

Was the log book reviewed for faults and false alarms?

☐ Yes     ☐ No

Standby batteries and charger tested and within their service life?

☐ Yes     ☐ No

Is a zone plan displayed next to the panel?

☐ Yes     ☐ No

Devices tested  (copy this block for each one)

Device number or address *

______________________________________________________________________________

Scan the device label

Scanned in the SiteSurvey app. On paper, write the numbers: device number.

______________________________________________________________________________

Type  (choose one)

☐ Manual call point

☐ Smoke detector

☐ Heat detector

☐ Multi-sensor

☐ Beam detector

☐ Sounder

☐ Beacon

☐ Interface or relay

Location

______________________________________________________________________________

Result *  (choose one)

☐ Pass     ☐ Fail

Fault found and action  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos  (if applicable; photos: attach, or note the file names)

______________________________________________________________________________

Devices failed  (worked out automatically in the app)

______________________________________________________________________________

System left  (choose one)

☐ Fully working

☐ Working with faults recorded

☐ Not working: responsible person told

If applicable: The system is not working. The Home Office guide says that if a system fails, people in the premises must still be warned and able to escape safely: a temporary arrangement with suitable training may be acceptable for a short period while it is repaired.

2. Fault or false alarm  (if applicable)

Time

______________________________________________________________________________

Device or zone that activated

______________________________________________________________________________

Cause  (choose one)

☐ Cooking fumes

☐ Steam or dust

☐ Contractor works

☐ Malicious

☐ Equipment fault

☐ Real fire

☐ Not known

Did the fire service attend?

☐ Yes     ☐ No

What was done to stop it happening again?

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.