Fire Compartmentation Survey
A fire compartmentation survey: every breach in compartment walls, floors, risers and cavity barriers with its location, required fire resistance, services, size, photos, priority and the remedy.
1. Building and scope
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Survey date *
______________________________________________________________________________
Time
______________________________________________________________________________
Surveyor and competence *
______________________________________________________________________________
Building use  (choose one)
☐ Block of flats
☐ Office
☐ School
☐ Hospital or care home
☐ Hotel
☐ Industrial
☐ Mixed use
Storeys
______________________________________________________________________________
Fire risk assessment reference
______________________________________________________________________________
Survey scope *
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Areas not accessed
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
	Compartment walls and floors stop fire and smoke spreading through a building. Gaps, unsealed service penetrations and missing cavity barriers defeat them. Under article 17 of the Regulatory Reform (Fire Safety) Order 2005, the responsible person must, where necessary to keep people safe, have the premises and fire safety facilities maintained in efficient working order and good repair.



2. Breaches and defects
Breaches  (copy this block for each one)
Reference *
______________________________________________________________________________
Scan a fire-stopping label
Scanned in the SiteSurvey app. On paper, write the numbers: label number.
______________________________________________________________________________
Floor and room *
______________________________________________________________________________
Element  (choose one)
☐ Compartment wall
☐ Compartment floor
☐ Ceiling
☐ Riser or shaft
☐ Cavity barrier
☐ Fire door frame or surround
Required fire resistance  (choose one)
☐ 30 minutes     ☐ 60 minutes     ☐ 90 minutes     ☐ 120 minutes     ☐ Not known
Defect *  (choose one)
☐ Unsealed service penetration
☐ Failed or poor fire-stopping
☐ Missing cavity barrier
☐ Gap or hole
☐ Damaged board or construction
☐ Product not fire rated
Services through it  (tick all that apply)
☐ Cables     ☐ Plastic pipe     ☐ Metal pipe     ☐ Ductwork     ☐ Cable tray     ☐ None
Size (mm)
______________________________________________________________________________
Existing product or label, if any
______________________________________________________________________________
Priority *  (choose one)
☐ High: fix now     ☐ Medium     ☐ Low
Recommended remedy
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Photos  (photos: attach, or note the file names)
______________________________________________________________________________
High priority  (worked out automatically in the app)
______________________________________________________________________________
Medium  (worked out automatically in the app)
______________________________________________________________________________
Low  (worked out automatically in the app)
______________________________________________________________________________
3. Actions and sign-off
Summary for the responsible person
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Are further actions needed?
☐ Yes     ☐ No
Further actions  (copy this block for each one; if applicable)
What needs doing? *
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Who will do it?
______________________________________________________________________________
Due date
______________________________________________________________________________
Status  (choose one)
☐ Open     ☐ In progress     ☐ Completed
Inspector name *
______________________________________________________________________________
Position or company
______________________________________________________________________________
Inspector signature
	



	Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.



Fire Compartmentation Survey. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/fire-compartmentation-survey/




