Fire Door Installation Record

A fire door installation record linking door identification, approved component evidence, installation checks, measured gaps, defects and handover.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This is an installation evidence record, not third-party certification, a fire-resistance test or a claim that a generic gap value suits every doorset.

Government fire guidance highlights the importance of fire doors and compatible components. Record the specified doorset evidence and manufacturer installation instructions; routine fire-door checks are a different task from installation verification.

2. Door and approved specification

Door ID, location and opening reference *

______________________________________________________________________________

Specified performance and design reference *

______________________________________________________________________________

Doorset manufacturer, product and traceability *

______________________________________________________________________________

Product evidence and installation instruction revision *

______________________________________________________________________________

Installer and competence reference *

______________________________________________________________________________

3. Installation checks

Leaf, frame and components match approved specification *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Frame fixings and supporting wall recorded *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Perimeter sealing evidence recorded before concealment *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Hinges, closer, latch and other hardware match specification *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Glazing and seals checked against product evidence *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Closing and latching checked under approved procedure *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

4. Measured evidence

Gap or installation measurement  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual result and unit *

______________________________________________________________________________

Acceptance criterion and source *

______________________________________________________________________________

Instrument and calibration reference

______________________________________________________________________________

Comparison *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Exception and response *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Fixings and sealing before concealment  (photos: attach, or note the file names)

______________________________________________________________________________

Departures, approved solutions and reinspection

Identify the departure from the approved specification and the evidence needed for resolution. Do not record an unapproved substitution as equivalent.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Handover

Recipient and operation/maintenance documents

______________________________________________________________________________

Separate installation certificate reference where issued

______________________________________________________________________________

Outstanding restrictions and release decision *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.