Fire Stopping Installation Record

A fire stopping installation record: certification scheme, drawings, each penetration seal with its label, element, fire rating, services, product and tested detail, before and after photos, and sign-off.

1. Job

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Installer *

______________________________________________________________________________

Operatives (names and qualification or card)

______________________________________________________________________________

Third-party certification scheme  (choose one)

☐ FIRAS     ☐ LPCB     ☐ IFC     ☐ BM TRADA     ☐ Other     ☐ None

Certificate number

______________________________________________________________________________

ASFP on-site guide to installing fire-stopping: fire stopping should ideally be installed by competent persons, meaning people working for a third-party certificated contractor or whose competence a third-party scheme has checked. Make a complete record of all installations, referred to in the labelling, apply labels for traceability, and photograph the completed work.

If applicable: No third-party certification recorded. The ASFP recommends installation by a third-party certificated contractor or by people whose competence a third-party scheme has checked.

Approved Document B (England): openings through a fire-resisting element for pipes, ducts, conduits or cables should be as few as possible, as small as practicable and fire-stopped, and joints between fire-separating elements should be fire-stopped.

Drawings or fire strategy reference

______________________________________________________________________________

Level or area

______________________________________________________________________________

2. Penetrations sealed

Seals  (copy this block for each one)

Label or reference number *

______________________________________________________________________________

Scan the seal label

Scanned in the SiteSurvey app. On paper, write the numbers: label number.

______________________________________________________________________________

Location

______________________________________________________________________________

Element  (choose one)

☐ Wall     ☐ Floor     ☐ Ceiling or cavity barrier

Fire resistance  (choose one)

☐ 30 minutes     ☐ 60 minutes     ☐ 90 minutes     ☐ 120 minutes     ☐ Other

Services through it  (tick all that apply)

☐ Cables

☐ Plastic pipe

☐ Metal pipe

☐ Insulated pipe

☐ Ductwork

☐ Mixed services

☐ Linear gap

Product or system

______________________________________________________________________________

Tested detail or assessment reference

______________________________________________________________________________

Before photo  (photos: attach, or note the file names)

______________________________________________________________________________

After photo (with label)  (photos: attach, or note the file names)

______________________________________________________________________________

Result *  (choose one)

☐ Complete     ☐ Snag     ☐ Outside the tested detail: needs assessment

What is needed  (if applicable)

______________________________________________________________________________

Seals complete  (worked out automatically in the app)

______________________________________________________________________________

Seals with snags  (worked out automatically in the app)

______________________________________________________________________________

Seals needing assessment  (worked out automatically in the app)

______________________________________________________________________________

Photograph each seal before it is covered up, and again once it is labelled, so the work can be checked later.

3. Sign-off

Notes for the main contractor

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Main contractor or client name

______________________________________________________________________________

Main contractor or client signature

Completed by *

______________________________________________________________________________

Signature