Fire Warden Walk-round

A fire warden or fire marshal walk-round: area, exits and escape routes, fire doors, call points, extinguishers, signs, emergency lighting, housekeeping, PEEPs and wardens on shift, with photos and actions.

1. Area

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Fire warden *

______________________________________________________________________________

Area or floor *

______________________________________________________________________________

Check  (choose one)

☐ Daily     ☐ Weekly     ☐ Monthly     ☐ Before an event

The Fire Safety Order requires the responsible person to appoint one or more competent people to help with the fire safety measures (article 18), and to set up procedures for serious and imminent danger, with enough competent people nominated to carry out the evacuation (article 15). Fire wardens are one way to meet these duties.

2. Checks

Fire exits unlocked and clear  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Escape routes free of obstruction  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire doors closed, not wedged open  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Call points visible and unobstructed  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Extinguishers in place, with a current service label  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire exit signs in place  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Emergency lighting showing no faults  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

No build-up of rubbish or combustibles  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

No overloaded sockets or unsafe heaters  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Assembly point clear  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Photos of any problems  (photos: attach, or note the file names)

______________________________________________________________________________

3. People

Fire wardens on shift

______________________________________________________________________________

Are PEEPs up to date for anyone who needs help to evacuate?

☐ Yes     ☐ No

Do visitors and contractors know the fire procedure?

☐ Yes     ☐ No

4. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.