Floor Moisture and Pre-install Survey

A floor moisture and pre-installation survey: base type and age, conditions, relative humidity readings with a hygrometer hood, flatness, damp-proof membrane, the manufacturer's limit and whether flooring can go down.

1. Base

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Survey date *

______________________________________________________________________________

Time

______________________________________________________________________________

Surveyor *

______________________________________________________________________________

Base  (choose one)

☐ Sand and cement screed

☐ Concrete slab

☐ Calcium sulphate (anhydrite) screed

☐ Timber or board

☐ Existing floor covering

Age of the base (weeks)

______________________________________________________________________________

Floor covering to be laid *

______________________________________________________________________________

Manufacturer's maximum relative humidity (%)

From the adhesive and floor covering manufacturers' data. Use the lower figure.

______________________________________________________________________________

Was the building at its normal service temperature and humidity, with drying equipment off, before the readings were taken?

☐ Yes     ☐ No

If applicable: Readings taken while drying equipment is running may not show how wet the base will be in normal use. Say so under preparation.

Weather capture

Digital form: use Record current conditions. On paper, record date/time, temperature (°C), wind (mph and direction), conditions and source. Keep observed conditions separate from forecast estimates.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

2. Readings

Readings  (copy this block for each one)

Location *

______________________________________________________________________________

Method  (choose one)

☐ Hygrometer hood (RH %)     ☐ Moisture meter (comparative)     ☐ Carbide or oven test

Relative humidity (%)  (if applicable)

______________________________________________________________________________

Meter reading and scale  (if applicable)

______________________________________________________________________________

Moisture content (%)  (if applicable)

______________________________________________________________________________

Temperature (°C)

______________________________________________________________________________

Hood in place for (hours)  (if applicable)

Hood makers and BS 8203 practice: leave the sealed hood for at least 72 hours, then read until the value is stable, or as the hood maker states.

______________________________________________________________________________

If applicable: The hood has been in place for less than 72 hours. The reading may not have reached equilibrium yet.

Difference from the limit (% RH, above 0 is too wet)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: Above the manufacturer's limit. Do not lay the floor covering yet.

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Readings taken  (worked out automatically in the app)

______________________________________________________________________________

Hygrometer readings  (worked out automatically in the app)

______________________________________________________________________________

Highest relative humidity (%)  (worked out automatically in the app)

______________________________________________________________________________

Readings over the limit  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Readings within the limit  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Relative humidity result  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Compare each relative humidity reading with the lowest limit given by the adhesive and floor covering manufacturers. BS 8203 is the code of practice for installing resilient floor coverings, and BS 8204-1 covers concrete bases and levelling screeds that receive them.

3. Flatness and result

Worst gap under a 2 m straightedge (mm)

______________________________________________________________________________

Flatness limit from the specification (mm)

The largest gap the specification or the covering manufacturer allows under the straightedge.

______________________________________________________________________________

Flatness check  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: The gap is larger than the specification allows. Record the smoothing or grinding needed before the covering goes down.

Damp-proof membrane present?

☐ Yes     ☐ No

Result *  (choose one)

☐ Ready to lay

☐ Ready after preparation

☐ Not ready: too wet

☐ Not ready: other

Preparation needed (smoothing, priming, surface DPM, drying time)  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Client or main contractor name

______________________________________________________________________________

Client or main contractor signature

Completed by *

______________________________________________________________________________

Signature