Heat Pump Commissioning Record

A heat pump commissioning record: unit and refrigerant, system pressure and flushing, flow and return temperatures, weather compensation, hot water and pasteurisation, MCS certificate, DNO and handover.

1. Heat pump

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date commissioned *

______________________________________________________________________________

Time

______________________________________________________________________________

Installer and MCS certification number *

______________________________________________________________________________

Heat pump make and model *

______________________________________________________________________________

Serial number

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number.

______________________________________________________________________________

______________________________________________________________________________

Rated output (kW)

______________________________________________________________________________

Refrigerant type and charge (kg)

______________________________________________________________________________

Refrigerant circuit  (choose one)

☐ Factory sealed (monobloc)     ☐ Split system: refrigerant work on site

If applicable: GOV.UK: anyone installing a refrigeration, air conditioning or heat pump system that contains F gas must hold an F gas qualification, and the company needs F gas certification.

F-gas certificate number  (if applicable)

______________________________________________________________________________

2. Heating system

System flushed and cleaned before commissioning?

☐ Yes     ☐ No

Inhibitor or antifreeze added at the right concentration?

☐ Yes     ☐ No

System pressure, cold (bar)

______________________________________________________________________________

Design flow temperature (°C)

______________________________________________________________________________

Measured flow temperature (°C)

______________________________________________________________________________

Measured return temperature (°C)

______________________________________________________________________________

Flow to return difference (°C)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Weather compensation set up?

☐ Yes     ☐ No

Heat curve or compensation settings

______________________________________________________________________________

Radiators or underfloor loops balanced?

☐ Yes     ☐ No

3. Hot water

Is there a hot water cylinder?

☐ Yes     ☐ No

Cylinder set point (°C)  (if applicable)

______________________________________________________________________________

Is a regular pasteurisation (legionella) cycle set?  (if applicable)

☐ Yes     ☐ No

If applicable: HSE says hot water cylinders should store water at 60°C or higher to control legionella. The cylinder is set lower and no pasteurisation cycle is set.

4. MCS, DNO and handover

MCS certificate number

______________________________________________________________________________

Date the MCS certificate was created

______________________________________________________________________________

MCS requires the MCS certificate to be created no later than 14 days after the commissioning date.

If applicable: More than 14 days after commissioning.

Boiler Upgrade Scheme voucher reference, if any

______________________________________________________________________________

Boiler Upgrade Scheme grants go through MCS certified installers, who apply to Ofgem on the customer's behalf.

Maximum demand of the property after installation (A)

Including the new equipment and the effect of any load management.

______________________________________________________________________________

Network operator (DNO) route  (choose one)

☐ Connect and notify after installation

☐ Applied and approved before installation

☐ Not known

MCS: every heat pump installation must be notified to the DNO. Where the property's new maximum demand is 60 A or less, connect and notify the DNO within 28 days of the installation. Between 60 A and 100 A, apply before installing.

If applicable: Maximum demand is over 60 A. MCS says to apply to the DNO before installing, not connect and notify.

Date the DNO was notified or approved  (if applicable)

______________________________________________________________________________

Days from commissioning to notification  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: More than 28 days after commissioning.

If applicable: The approval date is after the commissioning date. Approval is needed before installation.

DNO reference  (if applicable)

______________________________________________________________________________

Photos of the outdoor unit, cylinder and controls  (photos: attach, or note the file names)

______________________________________________________________________________

Handed over  (tick all that apply)

☐ MCS certificate

☐ Manuals and warranty

☐ How to use the controls

☐ Maintenance schedule

☐ Heat loss calculation and system design

Customer name

______________________________________________________________________________

Customer signature

Installer name *

______________________________________________________________________________

Installer signature