HMO Fire Safety Check

An HMO fire safety check against the LACORS housing fire safety guide: escape route, fire doors, detection and alarms, emergency lighting, fire-fighting equipment, kitchens, each room, and the fire risk assessment.

1. Property

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Checked by *

______________________________________________________________________________

Storeys

______________________________________________________________________________

Occupants

______________________________________________________________________________

Type  (choose one)

☐ Bedsits (separate lets)     ☐ Shared house (one group)     ☐ Flats     ☐ Other

Date of the fire risk assessment

______________________________________________________________________________

LACORS Housing: fire safety is national guidance for landlords and enforcing officers on fire safety in HMOs and other housing. Where the Fire Safety Order applies, it requires a fire risk assessment of the common parts, and LACORS says in practice the whole premises need to be taken into account. LACORS says the Order does not apply to a shared house let as a whole to occupants who have exclusive use of it.

2. Fire precautions

Escape route clear, with no storage or ignition sources  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire doors to rooms and kitchens close and latch  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire detection and alarm tested and working  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Emergency lighting working, where fitted  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire blanket in kitchens, extinguishers where provided  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire safety signs, where the risk assessment calls for them  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

No overloaded sockets or unsafe heaters  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Bins and rubbish stored away from the escape route  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Photos of any problems  (photos: attach, or note the file names)

______________________________________________________________________________

3. Rooms

Rooms  (copy this block for each one)

Room *

______________________________________________________________________________

Detector working?

☐ Yes     ☐ No

Fire door closes and latches?

☐ Yes     ☐ No

Issues

______________________________________________________________________________

Room fire doors not closing  (worked out automatically in the app)

______________________________________________________________________________

4. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.