HMO Inspection

An HMO inspection against the HMO management regulations: licence details, fire safety and escape, gas and electrical safety dates, common parts, water and waste, each room as a space, and actions.

1. Property

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Inspection date *

______________________________________________________________________________

Time

______________________________________________________________________________

Inspected by *

______________________________________________________________________________

Is the HMO licensed?

☐ Yes     ☐ No

Licence number  (if applicable)

______________________________________________________________________________

Licence expiry  (if applicable)

______________________________________________________________________________

Occupiers

______________________________________________________________________________

Households

______________________________________________________________________________

Storeys

______________________________________________________________________________

If applicable: The licence expiry date is before the inspection date.

Are the manager's name, address and phone number clearly displayed?

☐ Yes     ☐ No

If applicable: Regulation 3: the manager's name, address and any telephone number must be given to each household and clearly displayed in a prominent position in the HMO.

The Management of Houses in Multiple Occupation (England) Regulations 2006 set the manager's duties: information to occupiers, safety measures, water and drainage, gas and electricity, common parts, living accommodation and waste.

2. Fire, gas and electrical safety

Escape routes clear and in good repair  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire doors close fully and latch  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire alarms and smoke alarms tested and working  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire-fighting equipment in good order  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Fire escape notices clearly visible  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Common parts clean, lit and in good repair  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Stairs, handrails and banisters safe  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Water supply and drainage working  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Bins and waste storage adequate  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Regulation 4: escape routes must be kept free from obstruction and in good repair, and fire-fighting equipment and alarms in good working order. Escape notices are required unless the HMO has four or fewer occupiers.

Date of the last gas safety check

______________________________________________________________________________

Days since the gas check  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: More than 12 months since the gas safety check. A landlord must have each gas appliance and flue checked for safety at intervals of not more than 12 months.

Date of the last EICR

______________________________________________________________________________

Days since the EICR  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: More than 5 years since the EICR. The Electrical Safety Standards regulations require landlords to have the installation inspected and tested at least every 5 years.

Regulation 6: the manager must give the council the latest gas appliance test certificate within 7 days of a written request.

3. Rooms

Rooms  (copy this block for each one)

Room *

______________________________________________________________________________

Use  (choose one)

☐ Letting room     ☐ Shared kitchen     ☐ Shared bathroom or WC     ☐ Other

Smoke alarm or detector working?

☐ Yes     ☐ No

Fire door closes and latches?

☐ Yes     ☐ No

Condition  (choose one)

☐ Good     ☐ Fair     ☐ Poor

Issues

______________________________________________________________________________

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Rooms in poor condition  (worked out automatically in the app)

______________________________________________________________________________

4. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.