Intercom and Door Entry Service Record

An intercom and door entry service record: system, entrance panels, lock release, door closer, power and battery backup, fire alarm door release, handsets sampled, faults and sign-off.

1. System

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Service date *

______________________________________________________________________________

Time

______________________________________________________________________________

Engineer *

______________________________________________________________________________

System  (choose one)

☐ Audio

☐ Video

☐ Audio and video with fob access

☐ IP or app based

☐ Other

Manufacturer and model

______________________________________________________________________________

Scan the panel label

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number.

______________________________________________________________________________

______________________________________________________________________________

Flats or units served

______________________________________________________________________________

Is it a residential building with two or more flats, at least 18 m high or with at least 7 storeys?

☐ Yes     ☐ No

2. Entrances

Entrance doors  (copy this block for each one)

Entrance *

______________________________________________________________________________

Panel, buttons, speaker and microphone  (choose one)

☐ OK     ☐ Defect

Camera and lighting  (choose one)

☐ OK     ☐ Defect     ☐ Not fitted

Lock or maglock releases and holds  (choose one)

☐ OK     ☐ Defect

Door closer and alignment  (choose one)

☐ OK     ☐ Defect

Releases on fire alarm signal  (choose one)

☐ OK     ☐ Defect     ☐ Not linked

Exit button and emergency break glass  (choose one)

☐ OK     ☐ Defect

What is wrong?

______________________________________________________________________________

If applicable: The fire alarm release has a fault in a high-rise residential building. Tell the responsible person now: if it cannot be fixed within 24 hours they must report it to the fire and rescue service.

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

If applicable: In high-rise residential buildings in England, automatic door release mechanisms linked to the fire alarm system in the common parts are essential fire-fighting equipment under regulation 7 of the Fire Safety (England) Regulations 2022. The responsible person must check them every month, record the checks and make the record available to residents, and report to the fire and rescue service by electronic means any fault not fixed within 24 hours.

3. Power and handsets

Power supply  (choose one)

☐ OK     ☐ Defect

Battery backup tested  (choose one)

☐ OK     ☐ Defect     ☐ Not fitted

Handsets sampled  (copy this block for each one)

Flat *

______________________________________________________________________________

Call, speech and video  (choose one)

☐ OK     ☐ Defect

Door release  (choose one)

☐ OK     ☐ Defect

Result *  (choose one)

☐ Working     ☐ Working with faults to fix     ☐ Not working

Faults and parts needed  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will fix the faults, and by when  (if applicable)

______________________________________________________________________________

Site contact name

______________________________________________________________________________

Site contact signature

Completed by *

______________________________________________________________________________

Signature