Kitchen Measure Survey

A kitchen measure survey: room height, every wall with its length and features, windows and doors, gas, water, waste and electrics, extraction, floor, appliances wanted and delivery access.

1. Room

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Survey date *

______________________________________________________________________________

Time

______________________________________________________________________________

Surveyed by *

______________________________________________________________________________

Ceiling height (mm) *

______________________________________________________________________________

Floor  (choose one)

☐ Concrete     ☐ Suspended timber     ☐ Tiled     ☐ Vinyl     ☐ Other

Is the floor level?

☐ Yes     ☐ No

Could any floor tiles, textured coatings or boards contain asbestos?

☐ Yes     ☐ No

If applicable: HSE: asbestos can be present in any building built or refurbished before 2000, for example in vinyl or thermoplastic floor tiles, textured coatings such as Artex and insulating board. Have suspect materials checked before they are removed or drilled.

Walk Cam: kitchen measure

Walk Cam video walk-through: available in the SiteSurvey app only.

2. Walls

Walls  (copy this block for each one)

Wall (for example A, B, C clockwise from the door) *

______________________________________________________________________________

Length (mm) *

______________________________________________________________________________

On this wall  (tick all that apply)

☐ Window

☐ Door

☐ Radiator

☐ Boiler

☐ Sockets

☐ Switches

☐ Gas pipe

☐ Water and waste

☐ Chimney breast

☐ Boxing

Positions and sizes of each feature, from the left corner (mm)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Window sill height (mm)

______________________________________________________________________________

Door width (mm)

______________________________________________________________________________

3. Services

Is there a gas supply for a hob or range?

☐ Yes     ☐ No

Consumer unit: spare ways and cooker circuit

______________________________________________________________________________

Can the cooker hood or extract fan duct to outside?

☐ Yes     ☐ No

Approved Document F (England, dwellings, Table 1.1) gives minimum intermittent extract rates for a kitchen: 30 l/s where a cooker hood extracts to outside, or 60 l/s where there is no cooker hood or it does not extract to outside. A recirculating cooker hood on its own does not provide ventilation that complies with Part F.

Appliances wanted  (tick all that apply)

☐ Built-in oven

☐ Hob

☐ Range cooker

☐ Integrated fridge freezer

☐ Dishwasher

☐ Washing machine

☐ Microwave

☐ Boiling water tap

☐ Wine cooler

☐ Other: ____________

4. Design and access

Style, colours and worktop

______________________________________________________________________________

Budget

______________________________________________________________________________

Delivery and access (stairs, narrow doors, parking)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Notes for the designer

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Customer name

______________________________________________________________________________

Customer signature