Landlord Electrical Visual Check

A landlord's electrical visual check between EICRs: the last EICR date and code, sockets, switches, lights, consumer unit, RCD test, flexes, bathroom and outside fittings, photos and actions.

1. Property

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Checked by *

______________________________________________________________________________

Reason  (choose one)

☐ Change of tenancy     ☐ Routine check     ☐ Tenant reported a problem

Date of the last EICR

______________________________________________________________________________

Days since the EICR  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: More than 5 years since the EICR. The Electrical Safety Standards regulations require landlords in England to have the installation inspected and tested by a qualified person at least every 5 years, or sooner if the report says so.

Next inspection due (date given on the EICR)

______________________________________________________________________________

If applicable: The next inspection date on the EICR has passed. Book an inspection and test.

Last EICR result  (choose one)

☐ Satisfactory     ☐ Unsatisfactory, remedial work done     ☐ Not known

Has the tenant been given a copy of the current EICR?

☐ Yes     ☐ No

If applicable: The landlord must give a copy of the report to a new tenant before they move in, and to an existing tenant within 28 days of the inspection.

A visual check does not replace an EICR. GOV.UK guidance recommends at least a visual inspection before a new tenancy starts, to confirm nothing has been damaged since the last report. Anything that looks unsafe goes to a qualified electrician.

2. Checks

Sockets and switches: no damage, scorch marks or loose fittings  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Light fittings and ceiling roses undamaged  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Consumer unit: cover on, no damage, labels legible  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

RCD test button trips and resets  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Meter and supply intake: no damage or signs of burning  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

No taped repairs, damaged flexes or overloaded adaptors  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Bathroom: no sockets within 2.5 m of the bath or shower (shaver sockets excepted), fittings undamaged  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Outside lights and sockets undamaged and covered  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Landlord's appliances undamaged (cooker, extractor, heaters)  (choose one)

☐ OK     ☐ Defect     ☐ Not applicable

What is wrong?  (if applicable)

______________________________________________________________________________

Photos of any problems  (photos: attach, or note the file names)

______________________________________________________________________________

Is anything dangerous now (exposed live parts, burning smell, scorching)?

☐ Yes     ☐ No

If applicable: Isolate the circuit if safe to do so and get a qualified electrician straight away.

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.