Legionella Temperature Log

A legionella monthly temperature log: hot and cold sentinel outlet readings, cylinder flow and return temperatures and TMV inlets, with warnings when a reading misses the HSE target.

1. Check details

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date of the check *

______________________________________________________________________________

Time

______________________________________________________________________________

Checked by *

______________________________________________________________________________

Thermometer used and its calibration date

______________________________________________________________________________

Type of premises *  (choose one)

☐ Healthcare or care premises     ☐ Other premises

HSE guidance (Approved Code of Practice L8 and HSG274 Part 2). Check the water temperature at sentinel outlets (the nearest and furthest outlets from each cylinder and tank) every month and record the findings. Hot water should be stored at 60°C or above and reach at least 50°C within 1 minute at outlets (55°C in healthcare premises). Cold water should be below 20°C after running for 2 minutes. Check representative outlets on a rotation so the whole system is covered over time.

2. Hot water cylinders and calorifiers

Are there hot water cylinders or calorifiers to check?

☐ Yes     ☐ No

Cylinders by plant room or area  (copy this block for each one; if applicable)

Plant room or area *

For example Basement plant room

______________________________________________________________________________

Cylinders and calorifiers here  (copy this block for each one; if applicable)

Cylinder or calorifier reference *

______________________________________________________________________________

Scan the asset label

Scanned in the SiteSurvey app. On paper, write the numbers: asset number, serial number.

______________________________________________________________________________

______________________________________________________________________________

Position in this area

______________________________________________________________________________

Flow temperature at the top of the cylinder (°C) *

______________________________________________________________________________

If applicable: Below 60°C. HSE says hot water should be stored at 60°C or above.

Is there a return leg on a circulating loop?

☐ Yes     ☐ No

Return temperature (°C)  (if applicable)

______________________________________________________________________________

If applicable: Return below 50°C. HSE guidance is that calorifier return temperatures should not be below 50°C. The loop may not be keeping the whole system hot.

Cylinder temperature rechecks  (copy this block for each one)

One recheck of the cylinder or outlet identified above. Use the same sampling point and record the procedure and corrective action in the notes. Leave return temperature blank where no return is present.

Reading date and time *

______________________________________________________________________________

Cylinder flow temperature (°C) *

______________________________________________________________________________

Return temperature (°C)

______________________________________________________________________________

Recorded assessment  (choose one)

☐ Meets stated criterion     ☐ Does not meet stated criterion     ☐ Not assessed

Notes / action taken

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos for this reading  (photos: attach, or note the file names)

______________________________________________________________________________

3. Sentinel and representative outlets

Outlets by floor or area  (copy this block for each one)

Floor or area *

For example Ground floor west toilets

______________________________________________________________________________

Outlets checked here  (copy this block for each one)

Outlet reference *

______________________________________________________________________________

Scan the outlet label

Scanned in the SiteSurvey app. On paper, write the numbers: asset number.

______________________________________________________________________________

Position in this area *

______________________________________________________________________________

What are you measuring? *  (choose one)

☐ Hot outlet     ☐ Cold outlet     ☐ Hot supply to a TMV

Outlet  (choose one)

☐ Sentinel: nearest     ☐ Sentinel: furthest     ☐ Representative outlet

Temperature (°C) *

Hot: within 1 minute of running. Cold: after running for 2 minutes.

______________________________________________________________________________

If applicable: Below target. Hot water should reach at least 50°C within 1 minute (55°C in healthcare premises).

If applicable: Above target. Cold water should be below 20°C after running for 2 minutes.

Result *  (choose one)

☐ Pass     ☐ Fail

Action taken or needed  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos of the failed outlet  (if applicable; photos: attach, or note the file names)

______________________________________________________________________________

Outlet temperature rechecks  (copy this block for each one)

One recheck of the cylinder or outlet identified above. Use the same sampling point and record the procedure and corrective action in the notes. Leave return temperature blank where no return is present.

Reading date and time *

______________________________________________________________________________

Outlet water temperature (°C) *

______________________________________________________________________________

Time after opening outlet (seconds)

______________________________________________________________________________

Recorded assessment  (choose one)

☐ Meets stated criterion     ☐ Does not meet stated criterion     ☐ Not assessed

Notes / action taken

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos for this reading  (photos: attach, or note the file names)

______________________________________________________________________________

This floor or area: outlets failed  (worked out automatically in the app)

______________________________________________________________________________

This floor or area: outlets passed  (worked out automatically in the app)

______________________________________________________________________________

Outlets failed  (worked out automatically in the app)

______________________________________________________________________________

Outlets passed  (worked out automatically in the app)

______________________________________________________________________________

Which representative outlets are due next month?

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Next monthly check due

HSE guidance is to check sentinel outlet temperatures every month.

______________________________________________________________________________

Days to the next check  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: The next check date is before the date of this check. Check the date.

4. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Priority  (choose one)

☐ Urgent     ☐ High     ☐ Medium     ☐ Low

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.