Little-used Outlet Flushing Record

A weekly flushing record for little-used outlets: each tap, shower and hose with how long it was flushed, whether it was done without spray, the temperature reached and showerhead cleaning dates.

1. Flushing details

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Flushed by *

______________________________________________________________________________

Week commencing

______________________________________________________________________________

HSE guidance. For infrequently used outlets, run a programme of regular flushing, weekly. Flush through and purge to drain without releasing aerosols. Once started, the flushing has to be kept up and logged. In healthcare and care homes the risk assessment may call for more frequent flushing. Dismantle, clean and descale showerheads quarterly, or as the risk assessment decides.

2. Outlets flushed

Little-used outlets  (copy this block for each one)

Outlet reference *

______________________________________________________________________________

Scan the outlet label

Scanned in the SiteSurvey app. On paper, write the numbers: asset number.

______________________________________________________________________________

Location *

______________________________________________________________________________

Type  (choose one)

☐ Basin tap

☐ Sink tap

☐ Shower

☐ Bath tap

☐ Hose or external tap

☐ Drinking fountain

☐ Other

Supplies flushed  (tick all that apply)

☐ Hot     ☐ Cold     ☐ Mixed (TMV)

Flushed this week?

☐ Yes     ☐ No

Why not?  (if applicable)

______________________________________________________________________________

Minutes flushed  (if applicable)

______________________________________________________________________________

Done without creating spray (showerhead removed or in a bag, low flow)?  (if applicable)

☐ Yes     ☐ No

Temperature reached (°C), if measured  (if applicable)

______________________________________________________________________________

Date the showerhead was last cleaned and descaled  (if applicable)

______________________________________________________________________________

If applicable: More than 3 months since the showerhead was cleaned and descaled.

Notes

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outlets not flushed  (worked out automatically in the app)

______________________________________________________________________________

Has any outlet started being used regularly, or stopped being used?

☐ Yes     ☐ No

Which, so the flushing list can be updated?  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.