Loft Insulation Pre-install Survey
A loft insulation pre-install survey: access, existing insulation depth, joists, ventilation and condensation, cables and downlights, tanks and pipes, boarding and storage, area and the work proposed.
1. Loft
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Survey date *
______________________________________________________________________________
Time
______________________________________________________________________________
Surveyor *
______________________________________________________________________________
Safe access hatch and ladder?
☐ Yes     ☐ No
Loft length (m)
______________________________________________________________________________
Loft width (m)
______________________________________________________________________________
Loft area (m²)  (if applicable; worked out automatically in the app)
______________________________________________________________________________
Existing insulation depth (mm)
______________________________________________________________________________
Joist depth (mm)
______________________________________________________________________________
Existing insulation  (choose one)
☐ None     ☐ Mineral wool     ☐ Loose fill     ☐ Boards     ☐ Mixed
Walk Cam: loft survey
Walk Cam video walk-through: available in the SiteSurvey app only.
2. Checks
Ventilation at the eaves or ridge  (choose one)
☐ Clear     ☐ Blocked     ☐ None found
	If applicable: Keep the eaves and ventilation paths clear when insulating, or the loft can suffer condensation.



Any damp, condensation, mould or leaks?
☐ Yes     ☐ No
	If applicable: Fix damp and leaks before insulating.



Recessed downlights in the ceiling below?
☐ Yes     ☐ No
	If applicable: Do not cover downlights unless they are rated for it; fit covers or keep insulation clear. Lift cables above the insulation where you can.



Cold water tank or pipes in the loft?
☐ Yes     ☐ No
	If applicable: Leave the ceiling under the cold water tank uninsulated, and insulate the tank and pipes, so they do not freeze.



Is the loft boarded or used for storage?
☐ Yes     ☐ No
Any suspect asbestos (old loose fill, boards, flue pipes)?
☐ Yes     ☐ No
	If applicable: HSE: loose-fill asbestos, a loose fluffy insulation that may be blue-grey or whitish, can be found in loft spaces, and only an HSE-licensed contractor may work on it. Do not disturb suspect material. Arrange an asbestos survey before any work.



Photos  (photos: attach, or note the file names)
______________________________________________________________________________
3. Proposal
Insulation proposed (material and depth)
______________________________________________________________________________
Is it funded under a government scheme?
☐ Yes     ☐ No
	If applicable: Ofgem: installers on ECO4 must be TrustMark registered, and ECO4 measures follow the PAS 2035 retrofit process. Check the rules of the scheme funding this job.



Notes for the installer
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Customer name
______________________________________________________________________________
Customer signature
	



Completed by *
______________________________________________________________________________
Signature
	



Loft Insulation Pre-install Survey. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/loft-insulation-survey/




