PAT Testing Record

Portable appliance inspection and test record: each appliance with its ID, location, class, visual checks, test readings, pass or fail and the action taken.

1. Job details

Who tested, with what, and where.

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Customer

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Inspected and tested by

______________________________________________________________________________

Test instrument make and model

______________________________________________________________________________

Serial number

______________________________________________________________________________

Calibration date

______________________________________________________________________________

Areas covered

Note any rooms or equipment you could not get to.

______________________________________________________________________________

What the law asks for. HSE says the law does not make inspection or testing of electrical appliances a legal requirement, nor require it every year. Equipment must be maintained so it is safe, and how often it is checked depends on the type of equipment and where it is used. There is no legal requirement to label equipment or keep records, but HSE says both can be a useful management tool.

2. Appliances

One entry for each appliance. Unplug it and look before you test.

Appliances  (copy this block for each one)

Appliance ID

______________________________________________________________________________

Description *

______________________________________________________________________________

Location

______________________________________________________________________________

Class  (choose one)

☐ Class I: earthed     ☐ Class II: double insulated     ☐ Lead or extension only

Check carried out  (choose one)

☐ Visual inspection only     ☐ Visual inspection and test

Visual inspection *  (choose one)

☐ Pass     ☐ Fail

What is wrong?  (if applicable; tick all that apply)

☐ Damaged cable

☐ Damaged plug

☐ Wrong fuse

☐ Cable not gripped in the plug

☐ Cracked or damaged casing

☐ Signs of overheating

☐ Taped or non-standard joint

☐ Wet or contaminated

☐ Other: ____________

Fuse fitted (A)

______________________________________________________________________________

Earth continuity (ohms)  (if applicable)

______________________________________________________________________________

Insulation resistance (megohms)  (if applicable)

______________________________________________________________________________

Result *  (choose one)

☐ Pass     ☐ Fail

Action taken  (if applicable; choose one)

☐ Removed from use and labelled

☐ Repaired and retested: pass

☐ Disposed of

☐ Left in use: customer informed

If applicable: A failed appliance has been left in use. Record who you told on the next page.

Suggested next check

______________________________________________________________________________

Photos of defects  (photos: attach, or note the file names)

______________________________________________________________________________

Appliances checked  (worked out automatically in the app)

______________________________________________________________________________

Passed  (worked out automatically in the app)

______________________________________________________________________________

Failed  (worked out automatically in the app)

______________________________________________________________________________

3. Summary and sign-off

What the customer needs to know.

Have all failed appliances been taken out of use?

☐ Yes     ☐ No

Who was told about the failed appliances?

______________________________________________________________________________

Recommendations

For example more frequent checks for equipment that is moved a lot or used in harsh conditions.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

HSE says the person doing the testing needs to be competent to do it. In many low-risk environments a sensible member of staff can do the visual inspections if they have enough knowledge and training.

Is the customer or their representative available to sign?

☐ Yes     ☐ No

Why not, and who will you send the report to?  (if applicable)

______________________________________________________________________________

Customer name  (if applicable)

______________________________________________________________________________

Position  (if applicable)

______________________________________________________________________________

Customer comment  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Customer signature  (if applicable)

Tester name

______________________________________________________________________________

Tester signature