Permit to Dig

A permit to dig following HSE HSG47: service plans, CAT and signal generator scan, services found and marked, trial holes, safe digging precautions, authorisation, and close-out with backfill.

1. Permit

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date issued *

______________________________________________________________________________

Time

______________________________________________________________________________

Permit number *

______________________________________________________________________________

Exact location of the excavation *

______________________________________________________________________________

Work to be done, depth and method *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Valid until

______________________________________________________________________________

Issued to (person in charge of the dig) *

______________________________________________________________________________

If applicable: The valid until date is before the date issued. Check the dates.

HSE HSG47 sets out a safe system of work: plan the work, locate and identify buried services, and dig safely. A permit gives written authorisation from a responsible person for the work and the precautions.

2. Plans and locating

Service plans obtained  (tick all that apply)

☐ Electricity

☐ Gas

☐ Water

☐ Telecoms

☐ Sewer or drainage

☐ Street lighting

☐ Fuel or oil

☐ Other

☐ No plans available

If applicable: No plans. Treat the area as if services are present and locate before digging.

Was the area scanned with a cable avoidance tool (CAT)?

☐ Yes     ☐ No

Was a signal generator used?

☐ Yes     ☐ No

Scan the CAT serial plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number.

______________________________________________________________________________

CAT calibration or check date

______________________________________________________________________________

Scanned by (trained operator)

______________________________________________________________________________

Services found  (copy this block for each one)

Service *  (choose one)

☐ Electricity

☐ Gas

☐ Water

☐ Telecoms

☐ Sewer or drainage

☐ Street lighting

☐ Fuel or oil

☐ Other

Indicated depth (mm)

______________________________________________________________________________

Marked on the surface?

☐ Yes     ☐ No

Exposed by trial hole?

☐ Yes     ☐ No

Photos of the marks or trial hole  (photos: attach, or note the file names)

______________________________________________________________________________

Photos of the area marked up  (photos: attach, or note the file names)

______________________________________________________________________________

3. Precautions

Precautions in place *  (tick all that apply)

☐ Hand dig near located services

☐ Dig alongside services, not on top

☐ Breaking a hard surface: hand-held power tools kept 500 mm or more from the line of a service

☐ No mechanical excavator within 500 mm of a gas pipe

☐ Rescan as the dig gets deeper

☐ Emergency contacts for the service owners on site

HSG47: when breaking up a hard surface, where practicable only use hand-held power tools 500 mm or more from the indicated line of a service, then locate it by careful hand digging. Do not use mechanical excavators within 500 mm of a gas pipe.

HSG47: if a service is damaged, tell the owner or operator. For electricity cables, gas pipes, other pipelines and high-pressure water mains, keep people well clear until the owner has repaired it or made it safe. If gas is leaking, do not try to repair it: evacuate the area and call the National Gas Emergency number, 0800 111 999.

Has the dig team been given the plans and shown the marked services?

☐ Yes     ☐ No

Authorised by *

______________________________________________________________________________

Authorised signature

Signature of the person in charge of the dig

4. Close-out

Has the excavation been backfilled so services are supported and protected?

☐ Yes     ☐ No

If applicable: HSG47: concrete must not be used to encase services when backfilling.

Was any service damaged?

☐ Yes     ☐ No

What happened and who was told  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Permit closed

______________________________________________________________________________

Closed by

______________________________________________________________________________

Signature