Pressure System Examination Record

A pressure system examination record under PSSR: the written scheme, each item with its safe operating limit, protective devices, condition, repairs and dates, the next examination and the competent person's report.

1. System and scheme

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Examination date *

______________________________________________________________________________

Time

______________________________________________________________________________

Competent person *

______________________________________________________________________________

Company

______________________________________________________________________________

System (for example compressed air system, steam boiler) *

______________________________________________________________________________

Written scheme of examination reference

______________________________________________________________________________

Written scheme certified on

______________________________________________________________________________

HSE INDG178: a written scheme of examination identifies the items in the system, the parts to examine, the nature of each examination, including tests of protective devices, the preparation needed, the maximum interval between examinations, and the competent person who certified it.

2. Items examined

Items  (copy this block for each one)

Item *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, asset number.

______________________________________________________________________________

______________________________________________________________________________

Type  (choose one)

☐ Air receiver

☐ Steam boiler

☐ Autoclave or steriliser

☐ Pressure vessel

☐ Pipework

☐ Safety valve

☐ Other

Safe operating limit (bar)

______________________________________________________________________________

Protective devices tested  (tick all that apply)

☐ Safety valve

☐ Pressure gauge

☐ Pressure switch

☐ Low water alarm

☐ Drain valve

Condition *  (choose one)

☐ Satisfactory     ☐ Repairs needed     ☐ Unsafe: do not use

Repairs, modifications or changes to safe operating limits  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Complete repairs by  (if applicable)

______________________________________________________________________________

If applicable: Imminent danger (PSSR regulation 10). The competent person must give the user a written report straight away, specifying the repairs, modifications or changes needed, and send the same particulars to the enforcing authority within 14 days. The system, or that part of it, must not be operated until they are done.

Do not operate after (next examination due)

______________________________________________________________________________

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Items unsafe  (worked out automatically in the app)

______________________________________________________________________________

Items needing repairs  (worked out automatically in the app)

______________________________________________________________________________

3. Report

Is the written scheme still suitable?  (choose one)

☐ Suitable     ☐ Should be modified

Changes needed to the scheme  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

PSSR regulation 9: the competent person sends a signed, dated written report to the user (or the owner of a mobile system) as soon as practicable, to arrive within 28 days of the examination, or before the date set in the report for repairs, if that is sooner.

Date of the report

______________________________________________________________________________

Examiner name *

______________________________________________________________________________

Examiner signature

Received for the user or owner by

______________________________________________________________________________

Signature