Pressure System Examination Record
A pressure system examination record under PSSR: the written scheme, each item with its safe operating limit, protective devices, condition, repairs and dates, the next examination and the competent person's report.
1. System and scheme
Project
______________________________________________________________________________
Client
______________________________________________________________________________
Site *
______________________________________________________________________________
Site address
______________________________________________________________________________
Examination date *
______________________________________________________________________________
Time
______________________________________________________________________________
Competent person *
______________________________________________________________________________
Company
______________________________________________________________________________
System (for example compressed air system, steam boiler) *
______________________________________________________________________________
Written scheme of examination reference
______________________________________________________________________________
Written scheme certified on
______________________________________________________________________________
	HSE INDG178: a written scheme of examination identifies the items in the system, the parts to examine, the nature of each examination, including tests of protective devices, the preparation needed, the maximum interval between examinations, and the competent person who certified it.



2. Items examined
Items  (copy this block for each one)
Item *
______________________________________________________________________________
Scan the data plate
Scanned in the SiteSurvey app. On paper, write the numbers: serial number, asset number.
______________________________________________________________________________
______________________________________________________________________________
Type  (choose one)
☐ Air receiver
☐ Steam boiler
☐ Autoclave or steriliser
☐ Pressure vessel
☐ Pipework
☐ Safety valve
☐ Other
Safe operating limit (bar)
______________________________________________________________________________
Protective devices tested  (tick all that apply)
☐ Safety valve
☐ Pressure gauge
☐ Pressure switch
☐ Low water alarm
☐ Drain valve
Condition *  (choose one)
☐ Satisfactory     ☐ Repairs needed     ☐ Unsafe: do not use
Repairs, modifications or changes to safe operating limits  (if applicable)
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Complete repairs by  (if applicable)
______________________________________________________________________________
	If applicable: Imminent danger (PSSR regulation 10). The competent person must give the user a written report straight away, specifying the repairs, modifications or changes needed, and send the same particulars to the enforcing authority within 14 days. The system, or that part of it, must not be operated until they are done.



Do not operate after (next examination due)
______________________________________________________________________________
Photos  (photos: attach, or note the file names)
______________________________________________________________________________
Items unsafe  (worked out automatically in the app)
______________________________________________________________________________
Items needing repairs  (worked out automatically in the app)
______________________________________________________________________________
3. Report
Is the written scheme still suitable?  (choose one)
☐ Suitable     ☐ Should be modified
Changes needed to the scheme  (if applicable)
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
	PSSR regulation 9: the competent person sends a signed, dated written report to the user (or the owner of a mobile system) as soon as practicable, to arrive within 28 days of the examination, or before the date set in the report for repairs, if that is sooner.



Date of the report
______________________________________________________________________________
Examiner name *
______________________________________________________________________________
Examiner signature
	



Received for the user or owner by
______________________________________________________________________________
Signature
	



Pressure System Examination Record. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/pressure-system-inspection-record/




