Pump Maintenance

A pump maintenance record covering duty, seals, bearings, coupling, suction and discharge readings, service work, defects and return-to-service limits.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

For competent maintainers. This is not a pressure test certificate, hazardous-area approval or permission to open an unisolated system.

HSE advises competent maintenance, manufacturer instructions and safe isolation. Use a procedure suitable for the pump and fluid handled.

2. Equipment and work

Pump asset ID and location *

______________________________________________________________________________

Manufacturer, model and serial number *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number, asset number.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Maintenance procedure and revision *

______________________________________________________________________________

Technician and competence reference *

______________________________________________________________________________

Planned work and exclusions *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Safe isolation or permit reference *

______________________________________________________________________________

3. Duty and conditions

Fluid, hazards and safety data reference *

______________________________________________________________________________

Duty point and operating range reference

______________________________________________________________________________

Run hours and duty or standby role

______________________________________________________________________________

Reported vibration, noise, leakage or loss of performance

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

4. Mechanical checks

For each reading include the location, units, operating condition and comparison criterion. Record an unavailable reading as a limitation.

Mountings and coupling condition checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Seals and visible leakage assessed *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Bearings and lubrication checked to procedure *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Suction and discharge connections and strainers checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Guards restored and rotation or function verified safely *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Measured value  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual value and unit *

______________________________________________________________________________

Acceptance range and source *

______________________________________________________________________________

Instrument ID and calibration reference

______________________________________________________________________________

Assessment *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Response to exception *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Work and handback

Work performed and parts used

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Post-work tests and evidence

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Equipment handback *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Condition and work evidence photos  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.