Rack Audit
Cabinet by cabinet audit: equipment by U position, power, cooling, labelling, cable management.
1. Location
Which cabinet, where, and what it looks like now.
Project
Filled in from the project in SiteSurvey.
______________________________________________________________________________
Site *
______________________________________________________________________________
Room or comms cupboard
______________________________________________________________________________
Cabinet ID *
______________________________________________________________________________
Rack size (U)
______________________________________________________________________________
Cabinet lock  (choose one)
☐ Locked     ☐ Lockable, found unlocked     ☐ No lock
Photos of the front, doors open  (photos: attach, or note the file names)
______________________________________________________________________________
Photos of the back  (photos: attach, or note the file names)
______________________________________________________________________________
2. Equipment
One entry for each item, working from the top of the cabinet down.
	Most cabinets number U1 at the bottom. Check the numbers on the rails before you start and record the lowest and highest U an item takes, for example 38 to 39.



Equipment  (copy this block for each one)
U position
______________________________________________________________________________
Device  (choose one)
☐ Patch panel
☐ Fibre patch panel
☐ Network switch
☐ Router or firewall
☐ Server
☐ Storage or NAS
☐ NVR or DVR
☐ UPS
☐ PDU
☐ Shelf
☐ Cable manager or brush panel
☐ Blanking plate
☐ AV matrix or processor
☐ Amplifier
☐ Other: ____________
Make and model
______________________________________________________________________________
Labelled?
☐ Yes     ☐ No
Powered on?
☐ Yes     ☐ No
Items recorded  (worked out automatically in the app)
______________________________________________________________________________
Items with no label  (worked out automatically in the app)
______________________________________________________________________________
3. Power and cooling
How the cabinet is fed, and whether it is running cool.
Number of PDUs
______________________________________________________________________________
Is there a UPS?
☐ Yes     ☐ No
UPS status on the display  (if applicable; choose one)
☐ Normal     ☐ On battery     ☐ Alarm or fault showing
	If applicable: The UPS is on battery or showing a fault. Tell the site contact now: the cabinet could lose power without warning.



Is dual-corded equipment fed from two different PDUs?
☐ Yes     ☐ No
Load notes
PDU readings, overloaded strips, daisy-chained extensions.
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Temperature at the front of the cabinet (°C)
______________________________________________________________________________
	If applicable: This is above 27 °C, the top of the ASHRAE recommended range for air going into IT equipment. Check the room cooling and anything blocking the airflow.



Cabinet fans  (choose one)
☐ Working     ☐ Not working     ☐ No fans fitted
Are empty U spaces fitted with blanking plates?
☐ Yes     ☐ No
4. Cabling
Patching, labels and cable management.
Is the patching tidy?
☐ Yes     ☐ No
Does the labelling meet the site standard?
☐ Yes     ☐ No
Cable management  (circle one (Poor to Very good))
☐ 1     ☐ 2     ☐ 3     ☐ 4     ☐ 5
Issues found  (tick all that apply)
☐ Unlabelled cables
☐ Over-length patch leads
☐ Cables blocking airflow
☐ Tight bends or crushed cables
☐ Loose or unsupported cables
☐ Redundant cables left in place
☐ Doors cannot close
☐ Power and data not separated
☐ Other: ____________
Photos of the issues  (if applicable; photos: attach, or note the file names)
______________________________________________________________________________
Action needed  (if applicable)
______________________________________________________________________________
______________________________________________________________________________
______________________________________________________________________________
Auditor sign-off
Name
______________________________________________________________________________
Date
______________________________________________________________________________
Auditor signature
	



Rack Audit. Printable copy from the SiteSurvey form library. Fill it in on a phone, with photos and signatures: sitesurvey.app/forms/rack-audit-checklist/




