Residential Fire Door Checks

Fire door checks for blocks of flats under the Fire Safety (England) Regulations 2022: quarterly communal fire door checks and annual flat entrance door checks, self-closers, gaps, seals and damage, access attempts and resident information.

1. Building and check

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Checked by *

______________________________________________________________________________

Is the building above 11 metres in height (measured to the top storey)?

☐ Yes     ☐ No

Check *  (choose one)

☐ Quarterly communal fire doors     ☐ Annual flat entrance doors     ☐ Both

Regulation 10, Fire Safety (England) Regulations 2022: in a building with two or more flats that is above 11 m, check any fire doors in communal areas at least every 3 months, and use best endeavours to check flat entrance fire doors at least every 12 months. The checks must include that the self-closing devices work. Keep a record of the flat door checks, including the steps taken to try to gain access where it was not granted.

If applicable: Not above 11 m: the 3-monthly and 12-monthly checks in regulation 10 do not apply, but where residents would evacuate through common parts they must still be given the fire door information, and fire doors must still be maintained under the Fire Safety Order.

2. Doors

Doors  (copy this block for each one)

Door reference or flat number *

______________________________________________________________________________

Scan the door tag

Scanned in the SiteSurvey app. On paper, write the numbers: door id, certification number.

______________________________________________________________________________

______________________________________________________________________________

Door  (choose one)

☐ Communal     ☐ Flat entrance

Access gained?  (if applicable)

☐ Yes     ☐ No

Attempts to gain access (dates and how)  (if applicable)

______________________________________________________________________________

Self-closer closes the door fully into the frame  (choose one)

☐ OK     ☐ Defect

Latches and is not wedged or held open  (choose one)

☐ OK     ☐ Defect

Gaps and seals (intumescent and smoke seals)  (choose one)

☐ OK     ☐ Defect

Door leaf, frame, glazing and hinges undamaged  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

Result *  (choose one)

☐ Pass     ☐ Repair needed     ☐ No access

Repair: who will do it, and by when  (if applicable)

______________________________________________________________________________

Doors needing repair  (worked out automatically in the app)

______________________________________________________________________________

Flat doors with no access  (worked out automatically in the app)

______________________________________________________________________________

3. Resident information and sign-off

Have residents had the fire door information in the last 12 months?

☐ Yes     ☐ No

Date it was last given to all residents  (if applicable)

______________________________________________________________________________

If applicable: Residents must be told that fire doors should be kept shut when not in use, that residents and their guests should not tamper with the self-closing devices, and that faults or damage to doors should be reported to the responsible person straight away. New residents are told as soon as reasonably practicable after moving in, and all residents within each 12 months.

Completed by *

______________________________________________________________________________

Signature