Roof Anchor and Eyebolt Inspection

A roof anchor, eyebolt and safety line inspection: each anchor device with its type and location, visual and fixing checks, test where required, label, pass or withdrawn, and the next examination date.

1. Visit

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Inspection date *

______________________________________________________________________________

Time

______________________________________________________________________________

Competent person *

______________________________________________________________________________

Company

______________________________________________________________________________

Were the installation and last inspection records seen?

☐ Yes     ☐ No

Inspection interval you work to (months)

From the system's records, the manufacturer's instructions or your competent person. The form uses it to flag anchors past their interval and sets no interval of its own.

______________________________________________________________________________

The Work at Height Regulations 2005 (regulation 12) require equipment exposed to deterioration to be inspected by a competent person at suitable intervals and after exceptional circumstances, with the result recorded. BS 7883 gives recommendations for the design, installation, use, maintenance and inspection of anchor systems. BS EN 795 is the product standard for anchor devices used for personal fall protection; check the device is marked to it and follow the manufacturer's inspection instructions.

Weather capture

Digital form: use Record current conditions. On paper, record date/time, temperature (°C), wind (mph and direction), conditions and source. Keep observed conditions separate from forecast estimates.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

2. Anchor devices

Anchors by roof or area  (copy this block for each one)

Roof or area *

For example Main roof, Plant deck or Level 6 windows

______________________________________________________________________________

Anchors in this area  (copy this block for each one)

Anchor reference *

______________________________________________________________________________

Scan the anchor label

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, anchor id.

______________________________________________________________________________

______________________________________________________________________________

Type  (choose one)

☐ Eyebolt (through-fixed)

☐ Eyebolt (resin-fixed)

☐ Single point roof anchor

☐ Horizontal lifeline

☐ Rail system

☐ Davit socket

Position in this area

______________________________________________________________________________

Anchor position (GPS)

Optional. Mark it on the roof, so the next inspector can find it. Indoor or eyebolt fixes near a wall can be rough. Tap Mark current location on site. It saves the coordinates, a grid reference and the accuracy.

______________________________________________________________________________

Date of its last inspection

______________________________________________________________________________

Days since the last inspection  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: The last inspection was longer ago than the interval you work to. Record why, and whether the anchor was used in between.

No corrosion or damage  (choose one)

☐ OK     ☐ Defect

Fixing secure and fully engaged  (choose one)

☐ OK     ☐ Defect

Surrounding structure sound  (choose one)

☐ OK     ☐ Defect

Checks with a defect  (worked out automatically in the app)

______________________________________________________________________________

Load tested?

☐ Yes     ☐ No

Test load, duration and result  (if applicable)

______________________________________________________________________________

Test load applied (kN)  (if applicable)

______________________________________________________________________________

Test load in the installer's or manufacturer's instructions (kN)  (if applicable)

The form compares the applied load with it and sets no figure of its own.

______________________________________________________________________________

Applied against the instructions  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Result *  (choose one)

☐ Pass     ☐ Withdrawn from use

Why withdrawn  (if applicable)

______________________________________________________________________________

If applicable: Withdrawn from use. Label it or remove it so nobody clips on, and do not use it until it is repaired or replaced and passes inspection.

If applicable: A check has a defect, or the test load was below the instructions, but the anchor is recorded as a pass. Record why it is safe to use, or withdraw it.

Labelled with the next examination date?  (if applicable)

☐ Yes     ☐ No

Photos  (photos: attach, or note the file names)

______________________________________________________________________________

a_f_pass  (worked out automatically in the app)

______________________________________________________________________________

a_f_tested  (worked out automatically in the app)

______________________________________________________________________________

a_f_overdue  (worked out automatically in the app)

______________________________________________________________________________

a_f_unlabelled  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: anchors inspected  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: passed  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: anchors withdrawn  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: load tested  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: past the interval  (worked out automatically in the app)

______________________________________________________________________________

This roof or area: passed but not labelled  (worked out automatically in the app)

______________________________________________________________________________

Anchors inspected  (worked out automatically in the app)

______________________________________________________________________________

Passed  (worked out automatically in the app)

______________________________________________________________________________

Anchors withdrawn  (worked out automatically in the app)

______________________________________________________________________________

Load tested  (worked out automatically in the app)

______________________________________________________________________________

Past the interval  (worked out automatically in the app)

______________________________________________________________________________

Passed but not labelled  (worked out automatically in the app)

______________________________________________________________________________

If applicable: At least one anchor is withdrawn from use. Tell the building manager today, and make sure the access plan for window cleaning or roof work does not rely on it.

Actions for withdrawn or defective anchors  (copy this block for each one; if applicable)

Action *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Priority  (choose one)

☐ Urgent     ☐ High     ☐ Medium     ☐ Low

Owner

______________________________________________________________________________

Due

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Next examination due

______________________________________________________________________________

Days to the next examination  (if applicable; worked out automatically in the app)

______________________________________________________________________________

If applicable: The next examination date is further away than the interval you work to. Check the date.

3. Sign-off

Building manager name

______________________________________________________________________________

Building manager signature

Completed by *

______________________________________________________________________________

Signature