Smoke and CO Alarm Check

A smoke and carbon monoxide alarm check for rented homes: each storey's smoke alarm and each room with a fixed combustion appliance, tested and working, replacements and the tenant's signature.

1. Check

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date of check *

______________________________________________________________________________

Time

______________________________________________________________________________

Checked by *

______________________________________________________________________________

Reason *  (choose one)

☐ Start of a new tenancy     ☐ Reported fault     ☐ Routine check

Tenancy start date  (if applicable)

______________________________________________________________________________

Date the fault was reported  (if applicable)

______________________________________________________________________________

The Smoke and Carbon Monoxide Alarm (England) Regulations 2015, as amended in 2022, require landlords to make sure a smoke alarm is fitted on each storey with a room used as living accommodation, and a CO alarm in any room used as living accommodation that has a fixed combustion appliance, other than a gas cooker. Alarms must be checked as working on the day a new tenancy begins, and repaired or replaced as soon as reasonably practicable when a tenant reports a fault and the alarm is found not to be working.

2. Smoke alarms

Storeys  (copy this block for each one)

Storey (for example ground floor) *

______________________________________________________________________________

Smoke alarm fitted?

☐ Yes     ☐ No

Tested and working?  (if applicable)

☐ Yes     ☐ No

Power  (if applicable; choose one)

☐ Mains with battery backup     ☐ Sealed 10-year battery     ☐ Replaceable battery

Replace by (date on the alarm)  (if applicable)

______________________________________________________________________________

If applicable: No working smoke alarm on this storey. Fit or replace one; for a new tenancy it must be working on the day the tenancy begins.

Storeys without a working smoke alarm  (worked out automatically in the app)

______________________________________________________________________________

3. Carbon monoxide alarms

Is there any fixed combustion appliance (boiler, fire, stove), other than a gas cooker?

☐ Yes     ☐ No

Rooms with a fixed combustion appliance  (copy this block for each one; if applicable)

Room *

______________________________________________________________________________

Appliance

______________________________________________________________________________

CO alarm fitted?

☐ Yes     ☐ No

Tested and working?  (if applicable)

☐ Yes     ☐ No

Replace by (date on the alarm)  (if applicable)

______________________________________________________________________________

If applicable: No working CO alarm in this room. Fit or replace one.

Rooms without a working CO alarm  (if applicable; worked out automatically in the app)

______________________________________________________________________________

4. Sign-off

Alarms fitted or replaced today

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Photos of the alarms  (photos: attach, or note the file names)

______________________________________________________________________________

Tenant shown how to test the alarms?

☐ Yes     ☐ No

Tenant name

______________________________________________________________________________

Tenant signature (alarms shown working)

Landlord or agent *

______________________________________________________________________________

Signature