Stationary Battery Maintenance

A stationary lead-acid battery maintenance record covering bank identity, ventilation, visible condition, approved readings, defects and handback limits.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

This is scoped to stationary lead-acid battery banks. It is not an EV or lithium-ion battery checklist, repair instruction or authorisation to open sealed batteries.

HSE’s storage-battery guidance identifies electrical, chemical and explosion hazards. Use suitable ventilation, precautions against ignition and short circuits, and the manufacturer’s safe maintenance procedure.

2. Equipment and work

Stationary battery bank asset ID and location *

______________________________________________________________________________

Manufacturer, model and serial number *

______________________________________________________________________________

Scan the data plate

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number, asset number.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Maintenance procedure and revision *

______________________________________________________________________________

Technician and competence reference *

______________________________________________________________________________

Planned work and exclusions *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Safe isolation or permit reference *

______________________________________________________________________________

3. Battery scope

Battery chemistry *  (choose one)

Confirm the installed chemistry and instruction before choosing checks. Record uncertainty and refer it rather than assuming a familiar battery type.

☐ Lead-acid     ☐ Other     ☐ Unknown

If applicable: If the battery is not confirmed lead-acid, stop this checklist and use an appropriate specialist procedure.

Bank configuration, cell or block count and nominal voltage

______________________________________________________________________________

Charger ID and set-point reference

______________________________________________________________________________

4. Condition and readings

Ventilation and access arrangements checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Cases, terminals and racks visually checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Leakage, corrosion, swelling or abnormal heat recorded *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Labels and protective covers checked *  (choose one)

☐ Acceptable     ☐ Action needed     ☐ Not checked     ☐ Not applicable

Action, limitation or reason not applicable *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Cell or bank reading  (copy this block for each one)

Measurement point and parameter *

______________________________________________________________________________

Actual value and unit *

______________________________________________________________________________

Acceptance range and source *

______________________________________________________________________________

Instrument ID and calibration reference

______________________________________________________________________________

Assessment *  (choose one)

☐ Within criterion     ☐ Outside criterion     ☐ Unable to assess

Response to exception *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

5. Work and handback

Work performed and parts used

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Post-work tests and evidence

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Equipment handback *  (choose one)

☐ Available within recorded limits     ☐ Restricted use     ☐ Out of service

Restrictions, isolation and person informed *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Condition and work evidence photos  (photos: attach, or note the file names)

______________________________________________________________________________

6. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.