Structured Cabling Test Record

A structured cabling test and handover record: cabling category, tester and calibration, permanent link or channel, links tested and passed, failures and retests, fibre results, labelling, drawings and warranty.

1. Installation

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Test date *

______________________________________________________________________________

Time

______________________________________________________________________________

Installer *

______________________________________________________________________________

Cabling *  (choose one)

☐ Cat5e

☐ Cat6

☐ Cat6A

☐ Cat7 or Cat8

☐ Fibre OM3

☐ Fibre OM4

☐ Fibre OS2

☐ Mixed

Tester make and model

______________________________________________________________________________

Scan the tester label

Scanned in the SiteSurvey app. On paper, write the numbers: serial number.

______________________________________________________________________________

Tester calibration date

______________________________________________________________________________

Test configuration *  (choose one)

☐ Permanent link     ☐ Channel

A permanent link is the permanently installed part of the cabling, from the connector at the patch panel to the outlet. A channel adds the patch cords and equipment cords at each end, so a channel result covers the cords that were in place when it was tested.

Test limit used (for example ISO/IEC or TIA Cat6A permanent link)

______________________________________________________________________________

2. Results

Copper links tested *

______________________________________________________________________________

Passed first time

______________________________________________________________________________

If applicable: More links passed than were tested. Check the two numbers.

Pass rate (%)  (if applicable; worked out automatically in the app)

______________________________________________________________________________

Failures  (copy this block for each one)

Outlet or link ID *

______________________________________________________________________________

Fault  (choose one)

☐ Wire map     ☐ Length     ☐ NEXT     ☐ Return loss     ☐ Insertion loss     ☐ Other

Fix

______________________________________________________________________________

Retest  (choose one)

☐ Pass     ☐ Fail

Links still failing after retest  (worked out automatically in the app)

______________________________________________________________________________

Outstanding work: who will do it, and by when  (if applicable)

______________________________________________________________________________

Fibre cores tested

______________________________________________________________________________

Worst fibre loss (dB) and budget

______________________________________________________________________________

Tester reports or screenshots  (photos: attach, or note the file names)

______________________________________________________________________________

3. Handover

Handed over *  (tick all that apply)

☐ Full test results

☐ As-built drawings

☐ Labelling schedule

☐ Manufacturer warranty registration

☐ Rack and patching photos

Rack and patching photos  (photos: attach, or note the file names)

______________________________________________________________________________

If a manufacturer's warranty is being registered, check which results it needs and who may submit them, and check the client's specification, before handover.

Client name

______________________________________________________________________________

Client signature

Completed by *

______________________________________________________________________________

Signature