Thermal Imaging Survey

A thermal imaging record linking image references, camera settings, operating conditions, measured temperatures, interpretation and survey limitations.

1. Record details and scope

Project

Filled in from the project in SiteSurvey.

______________________________________________________________________________

Site or premises address

______________________________________________________________________________

Client or organisation

______________________________________________________________________________

Record date *

______________________________________________________________________________

Person completing the record *

______________________________________________________________________________

For competent thermographers. This records observations and interpretation, not a diagnosis from colour alone, an electrical safety certificate or permission to expose live parts.

FLIR explains that temperature interpretation depends on emissivity, reflected radiation and measurement conditions. HSE electrical guidance requires safe maintenance arrangements; using a camera does not make access to live equipment safe.

2. Survey method

Survey purpose and agreed scope *

______________________________________________________________________________

Camera, lens and calibration reference *

______________________________________________________________________________

Thermographer and competence reference *

______________________________________________________________________________

Weather, ambient conditions and operating loads *

Record the environmental and operating conditions that affect interpretation. Reference instrument settings and comparison evidence.

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

3. Thermograms

Thermal observation  (copy this block for each one)

Asset or location *

______________________________________________________________________________

Original radiometric file reference *

______________________________________________________________________________

Emissivity, reflected temperature, distance and other settings *

______________________________________________________________________________

Measured temperatures, units and comparison point *

______________________________________________________________________________

Interpretation, basis and uncertainty *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Thermal export and corresponding visible image  (photos: attach, or note the file names)

______________________________________________________________________________

4. Limitations and follow-up

Access, loading, surface and environmental limitations *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Confirmatory testing or specialist investigation

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Urgent concern and person informed

______________________________________________________________________________

Technical reviewer

______________________________________________________________________________

5. Actions and review

Are further actions required? *  (choose one)

☐ Yes     ☐ No

Further action  (copy this block for each one; if applicable)

Action and evidence reference *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Person responsible *

______________________________________________________________________________

Target date

______________________________________________________________________________

Action status *  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Completion evidence *  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Outstanding limitations and information to pass on

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Record status *  (choose one)

☐ Ready for review     ☐ Further work needed     ☐ Work or use stopped

Reviewed by

______________________________________________________________________________

Review date

______________________________________________________________________________

Author signature *

Signing records the information entered. It does not itself certify legal compliance, remove a limitation or authorise unsafe work.