TMV Service Record

A thermostatic mixing valve (TMV) service record: each valve with its location, outlet and type, set and measured mixed temperatures, fail-safe test, strainers and result, with a warning above 44°C.

1. Visit

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Service date *

______________________________________________________________________________

Time

______________________________________________________________________________

Engineer *

______________________________________________________________________________

Thermometer and calibration date

______________________________________________________________________________

HSE: where vulnerable people are at risk from scalding during whole-body immersion, water temperatures must not exceed 44°C. Where hot water is stored and distributed hot to control legionella, baths and showers should be fitted with TMVs, and outlet temperatures and TMVs should be monitored and maintained so the controls stay effective. HSE says TMVs need regular routine maintenance by competent people, in line with the manufacturer's instructions.

2. Valves

Valves  (copy this block for each one)

Location (room and outlet) *

______________________________________________________________________________

Scan the valve tag

Scanned in the SiteSurvey app. On paper, write the numbers: asset number, serial number.

______________________________________________________________________________

______________________________________________________________________________

Outlet  (choose one)

☐ Bath     ☐ Shower     ☐ Basin     ☐ Bidet     ☐ Sink     ☐ Other

Valve  (choose one)

☐ TMV2     ☐ TMV3     ☐ Other

Set mixed temperature (°C)

______________________________________________________________________________

Measured mixed temperature (°C) *

______________________________________________________________________________

If applicable: Above 44°C. Reset or repair the valve before the outlet is used.

Fail-safe test (cold supply isolated)  (choose one)

☐ Pass     ☐ Fail

Strainers and check valves cleaned?

☐ Yes     ☐ No

Result *  (choose one)

☐ Pass     ☐ Fail

Action taken  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Mixed temperature after adjustment (°C)  (if applicable)

______________________________________________________________________________

Valves failed  (worked out automatically in the app)

______________________________________________________________________________

Valves passed  (worked out automatically in the app)

______________________________________________________________________________

3. Actions and sign-off

Are further actions needed?

☐ Yes     ☐ No

Further actions  (copy this block for each one; if applicable)

What needs doing? *

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Who will do it?

______________________________________________________________________________

Due date

______________________________________________________________________________

Status  (choose one)

☐ Open     ☐ In progress     ☐ Completed

Inspector name *

______________________________________________________________________________

Position or company

______________________________________________________________________________

Inspector signature

Signing records what was found on the day. It does not make unsafe equipment safe or replace a thorough examination, design check or service by a competent person.