Unvented Cylinder Service Record

An unvented hot water cylinder (G3) annual service: cylinder and heat source, inlet pressure, expansion vessel charge, relief valves, energy cut-out, tundish and discharge, temperature setting and the next service.

1. Cylinder

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Service date *

______________________________________________________________________________

Time

______________________________________________________________________________

Engineer and G3 qualification *

______________________________________________________________________________

Cylinder make and model *

______________________________________________________________________________

Scan the data label

Scanned in the SiteSurvey app. On paper, write the numbers: serial number, model number.

______________________________________________________________________________

______________________________________________________________________________

Capacity (litres)

______________________________________________________________________________

Heat source  (choose one)

☐ Boiler (indirect)

☐ Immersion heater (direct)

☐ Heat pump

☐ Solar and boiler

Building Regulations requirement G3(3): a hot water system with a storage vessel must stop the stored water ever exceeding 100°C, and any discharge from safety devices must be safely conveyed to where it is visible. Approved Document G says an unvented system should have at least two independent safety devices as well as the thermostat, and advises choosing an installer with the right skills, for example one registered with a competent person scheme. The Hot Water Association's servicing guide recommends a service every 12 months, and regular servicing is usually a condition of the manufacturer's warranty.

2. Checks

Incoming mains pressure (bar)

______________________________________________________________________________

Pressure reducing valve setting (bar)

______________________________________________________________________________

Expansion vessel pre-charge (bar)

______________________________________________________________________________

Pre-charge correct for the system?

☐ Yes     ☐ No

Stored water temperature (°C)

______________________________________________________________________________

Temperature and pressure relief valve operated and reseats  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

Expansion relief valve operated and reseats  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

Energy cut-out (non self-resetting) tested  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

Tundish visible, discharge pipe and termination safe  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

Line strainer cleaned  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

No leaks or signs of discharge  (choose one)

☐ OK     ☐ Defect

What is wrong?  (if applicable)

______________________________________________________________________________

If applicable: A safety device has a defect. Never bypass the energy cut-out or relief valves: replace the faulty device before the cylinder is used.

Photos of the cylinder, valves and tundish  (photos: attach, or note the file names)

______________________________________________________________________________

3. Result

Result *  (choose one)

☐ Safe and serviced     ☐ Serviced, parts needed     ☐ Unsafe: left off

Parts and work needed  (if applicable)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Benchmark or manufacturer's service record completed?

☐ Yes     ☐ No

Next service due

______________________________________________________________________________

Customer name

______________________________________________________________________________

Customer signature

Completed by *

______________________________________________________________________________

Signature