Ventilation Ductwork Cleaning Record

A ventilation ductwork inspection and cleaning record (TR19 Air): system and hygiene grade, visual inspection, deposit tests before and after, sections cleaned, access panels, filters, fire dampers, photos and report.

1. System

Project

______________________________________________________________________________

Client

______________________________________________________________________________

Site *

______________________________________________________________________________

Site address

______________________________________________________________________________

Date *

______________________________________________________________________________

Time

______________________________________________________________________________

Technician *

______________________________________________________________________________

Company

______________________________________________________________________________

System (AHU or fan reference and area served) *

______________________________________________________________________________

System  (choose one)

☐ Supply     ☐ Extract     ☐ Recirculation

Cleanliness class (risk)  (choose one)

☐ High (for example laboratories, hospital treatment areas)

☐ Medium (for example offices, hotels, schools)

☐ Low (for example storage and technical rooms)

BESA TR19 Air, released in April 2024, is the specification for the internal cleanliness of general ventilation systems. Inspection starts with a visual check of whether cleaning is needed, and deposit tests show whether surfaces are within acceptable limits. Regulation 5 of the Workplace Regulations 1992 requires mechanical ventilation systems in workplaces to be maintained, including cleaned as appropriate.

2. Inspection and clean

Visual inspection result  (choose one)

☐ Clean: no cleaning needed     ☐ Cleaning needed     ☐ Contaminated: specialist clean

Deposit test units  (choose one)

☐ Microns (deposit thickness test)     ☐ g/m² (weight of dust)

Deposit test before

______________________________________________________________________________

Deposit test after

______________________________________________________________________________

Sections cleaned  (copy this block for each one)

Section or run *

______________________________________________________________________________

Length (m)

______________________________________________________________________________

Method  (choose one)

☐ Rotary brush     ☐ Compressed air     ☐ Hand clean     ☐ Vacuum

Before photos  (photos: attach, or note the file names)

______________________________________________________________________________

After photos  (photos: attach, or note the file names)

______________________________________________________________________________

Total length cleaned (m)  (worked out automatically in the app)

______________________________________________________________________________

Access panels fitted or used

______________________________________________________________________________

Filters changed or cleaned?

☐ Yes     ☐ No

Fire dampers checked and reset?

☐ Yes     ☐ No

3. Report

Defects (damaged ductwork, insulation, missing access, mould)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Next inspection due

______________________________________________________________________________

Site manager name

______________________________________________________________________________

Site manager signature

Completed by *

______________________________________________________________________________

Signature